## Batch #XXXX
EasyMP™ Batch #XXXX [Polyethylene (PE), Beads, Blue, 100-140 µm]
Polymer specific gravity: 0.955 g/cm³ (9.55·10−7 µg/µm³) | [13 empty] | MicroplasticSolution.com |  |  | contact@microplasticsolution.com
166 ± 24 (14%) MPs [n/mL] or 0.15 ± 0.02 (13%) MPs [mg/mL] in 30 mL ethanol (95 vol.%) solution
All values in microplastics/mL (n or mg)
| SS_1 |  | SS_2 |  | SS_3 |  | SS_4 |  | Number of particles (n/mL) |  |  | Mass of particles (µg/mL) |  |  | Particle size distribution |  |  | D10 (µm) | 102.6217
Min Feret diameter (µm) | n/mL | mg/mL | n/mL | mg/mL | n/mL | mg/mL | n/mL | mg/mL | Mean (n) | SD (n) | RSD (%) | Mean (mg) | SD (mg) | RSD (%) | Mean diameter (µm) | PSD (%) | Cum. PSD (%) | D50 (µm) | 110.4705
90-95 | 0 | 0 | 2 | 0.00090552 | 0 | 0 | 0 | 0 | 0.5 | 0.86603 | 173.2051 | 0.00022638 | 0.0003921 | 173.2051 | 92.5 | 0.3012 | 0.3012 | D90 (µm) | 118.4911
95-100 | 2 | 0.0011861 | 2 | 0.0016307 | 0 | 0 | 0 | 0 | 1 | 1 | 100 | 0.0007042 | 0.00072152 | 102.4603 | 97.5 | 0.60241 | 0.90361
100-105 | 4 | 0.0027862 | 10 | 0.0090324 | 2 | 0.001321 | 2 | 0.0013781 | 4.5 | 3.2787 | 72.8604 | 0.0036294 | 0.0031741 | 87.4554 | 102.5 | 2.7108 | 3.6145 | Note: D10 signifies that the 10th percentile of particles is below 103 µm in diameter
105-110 | 36 | 0.028459 | 66 | 0.052073 | 38 | 0.028401 | 32 | 0.024529 | 43 | 13.4536 | 31.2875 | 0.033365 | 0.010918 | 32.7213 | 107.5 | 25.9036 | 29.5181
110-115 | 48 | 0.040947 | 62 | 0.053956 | 78 | 0.066417 | 46 | 0.042238 | 58.5 | 12.8355 | 21.941 | 0.05089 | 0.010298 | 20.2368 | 112.5 | 35.241 | 64.759
115-120 | 48 | 0.047396 | 42 | 0.039804 | 40 | 0.038005 | 38 | 0.037201 | 42 | 3.7417 | 8.9087 | 0.040602 | 0.0040345 | 9.9368 | 117.5 | 25.3012 | 90.0602
120-125 | 16 | 0.018757 | 12 | 0.012765 | 16 | 0.019133 | 16 | 0.017096 | 15 | 1.7321 | 11.547 | 0.016938 | 0.0025278 | 14.9243 | 122.5 | 9.0361 | 99.0964
125-130 | 0 | 0 | 0 | 0 | 6 | 0.0093873 | 0 | 0 | 1.5 | 2.5981 | 173.2051 | 0.0023468 | 0.0040648 | 173.2051 | 127.5 | 0.90361 | 100
130-135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 132.5 | 0 | 100
135-140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 137.5 | 0 | 100
>140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 140 | 0 | #REF!
Total | 154 | 0.13953 | 196 | 0.17017 | 180 | 0.16266 | 134 | 0.12244 | 166 | 23.7908 | 14.3318 | 0.1487 | 0.018904 | 12.7126
Polymer Raman signature
Raman shift (1/cm) | Counts (relative intensity)
266.032 | 0.0094344
269.18 | 0.010509
272.327 | 0.0085371
275.475 | 0.0079709
278.623 | 0.0064943
281.771 | 0.0036732
284.918 | 0.0023581
288.066 | 0.0030417
291.214 | 0.00079879
294.361 | 0.0015219
297.509 | 0.00088182
300.657 | -0.00059693
303.805 | -0.0013164
306.952 | -0.00046823
310.1 | 0.0015235
313.248 | 0.002416
316.395 | 0.0019023
319.543 | 0.0017097
322.691 | 0.0031244
325.839 | 0.0044647
328.986 | 0.004234
332.134 | 0.0052667
335.282 | 0.0051875
338.429 | 0.005549
341.577 | 0.0044211
344.725 | 0.0050623
347.872 | 0.0067531
351.02 | 0.0074674
354.168 | 0.0075256
357.316 | 0.007392
360.463 | 0.0085016
363.611 | 0.007199
366.759 | 0.0090041
369.906 | 0.0093226
373.054 | 0.0077075
376.202 | 0.0093617
379.35 | 0.0089572
382.497 | 0.0086056
385.645 | 0.0096164
388.793 | 0.0095661
391.94 | 0.0095111
395.088 | 0.010654
398.236 | 0.01199
401.384 | 0.010749
404.531 | 0.012899
407.679 | 0.015308
410.827 | 0.017903
413.974 | 0.020719
417.122 | 0.022917
420.27 | 0.025685
423.418 | 0.030312
426.565 | 0.031891
429.713 | 0.038518
432.861 | 0.040507
436.008 | 0.04202
439.156 | 0.04457
442.304 | 0.046359
445.452 | 0.045456
448.599 | 0.042712
451.747 | 0.04106
454.895 | 0.033663
458.042 | 0.027668
461.19 | 0.022506
464.338 | 0.01696
467.485 | 0.012679
470.633 | 0.010469
473.781 | 0.0069787
476.929 | 0.0054403
480.076 | 0.0076801
483.224 | 0.0053554
486.372 | 0.0032504
489.519 | 0.0014558
492.667 | 0.0010887
495.815 | 0.0019477
498.963 | -0.0009701
502.11 | -0.00080295
505.258 | -0.0010095
508.406 | 0.00082537
511.553 | 0.0021427
514.701 | 0.001633
517.849 | 0.0010265
520.997 | 0.0014145
524.144 | -6.5902e-05
527.292 | -0.00042925
530.44 | 0.0017203
533.587 | 0.0019588
536.735 | 0.0016332
539.883 | 0.0018166
543.031 | 0.0029264
546.178 | 0.0042346
549.326 | 0.0045053
552.474 | 0.0058415
555.621 | 0.0074576
558.769 | 0.010456
561.917 | 0.013351
565.065 | 0.0159
568.212 | 0.018391
571.36 | 0.021389
574.508 | 0.024895
577.655 | 0.027149
580.803 | 0.033298
583.951 | 0.042829
587.098 | 0.048905
590.246 | 0.056037
593.394 | 0.061191
596.542 | 0.065391
599.689 | 0.071674
602.837 | 0.073862
605.985 | 0.077479
609.132 | 0.078928
612.28 | 0.075408
615.428 | 0.070397
618.576 | 0.064566
621.723 | 0.057163
624.871 | 0.048952
628.019 | 0.041493
631.166 | 0.032515
634.314 | 0.031924
637.462 | 0.027865
640.61 | 0.023375
643.757 | 0.019887
646.905 | 0.015388
650.053 | 0.012971
653.2 | 0.014231
656.348 | 0.01321
659.496 | 0.012809
662.644 | 0.011549
665.791 | 0.010695
668.939 | 0.0087307
672.087 | 0.0090548
675.234 | 0.01056
678.382 | 0.011976
681.53 | 0.012741
684.678 | 0.01171
687.825 | 0.011269
690.973 | 0.0073249
694.121 | 0.0081801
697.268 | 0.0077158
700.416 | 0.0090796
703.564 | 0.0093439
706.711 | 0.0080188
709.859 | 0.007408
713.007 | 0.0069976
716.155 | 0.0054875
719.302 | 0.006882
722.45 | 0.0037879
725.598 | 0.0040218
728.745 | 0.0043417
731.893 | 0.0047845
735.041 | 0.0044789
738.189 | 0.0042071
741.336 | 0.0066889
744.484 | 0.0086437
747.632 | 0.0075987
750.779 | 0.0061292
753.927 | 0.0034042
757.075 | 0.0020297
760.223 | 0.0010866
763.37 | 0.00091983
766.518 | 0.001957
769.666 | 0.0033832
772.813 | 0.0041925
775.961 | 0.0044535
779.109 | 0.0027916
782.257 | 0.0022794
785.404 | 0.0012153
788.552 | 0.0012334
791.7 | 0.00035203
794.847 | -0.00063015
797.995 | -0.00012981
801.143 | 0.0009194
804.291 | 0.0013574
807.438 | 0.0027668
810.586 | 0.0012443
813.734 | 0.0021797
816.881 | 0.0012994
820.029 | 0.0018212
823.177 | 0.0024883
826.324 | 0.0029681
829.472 | 0.0040322
832.62 | 0.0045093
835.768 | 0.0025891
838.915 | 0.0028686
842.063 | 0.002982
845.211 | 0.0013344
848.358 | 0.0013514
851.506 | 0.0010923
854.654 | 0.001028
857.802 | 0.0014751
860.949 | 0.0017131
864.097 | 0.0016068
867.245 | 0.0017807
870.392 | -0.00033788
873.54 | 0.0018708
876.688 | 0.003053
879.836 | 0.0045689
882.983 | 0.0060705
886.131 | 0.0083764
889.279 | 0.010762
892.426 | 0.010533
895.574 | 0.0074566
898.722 | 0.0047114
901.87 | 0.0020095
905.017 | 1.5433e-05
908.165 | 0.0012604
911.313 | 0.0006584
914.46 | -0.00091946
917.608 | -0.00036826
920.756 | 0.00098017
923.904 | 0.00096142
927.051 | 0.000274
930.199 | 0.00032385
933.347 | -0.00013838
936.494 | -0.0014294
939.642 | 0.0011653
942.79 | 0.001487
945.938 | -0.00043022
949.085 | 0.0021762
952.233 | 0.0032517
955.381 | 0.0026879
958.528 | 0.001366
961.676 | 0.00075273
964.824 | 0.001272
967.971 | 0.0011235
971.119 | 0.0011
974.267 | 0.0020625
977.415 | 0.00043876
980.562 | -0.00075484
983.71 | -0.0010008
986.858 | 0.0012381
990.005 | 0.0021388
993.153 | 0.0020321
996.301 | 0.0026675
999.449 | 0.0028872
1002.596 | 0.0018866
1005.744 | 0.0024267
1008.892 | 0.0020041
1012.039 | 0.0012929
1015.187 | 0.003138
1018.335 | 0.0030865
1021.483 | 0.0030927
1024.63 | 0.0026806
1027.778 | 0.0039498
1030.926 | 0.004159
1034.073 | 0.0044009
1037.221 | 0.0062232
1040.369 | 0.0074476
1043.517 | 0.0091351
1046.664 | 0.012589
1049.812 | 0.019469
1052.96 | 0.046795
1056.107 | 0.10353
1059.255 | 0.16257
1062.403 | 0.15806
1065.551 | 0.098981
1068.698 | 0.0438
1071.846 | 0.018439
1074.994 | 0.010886
1078.141 | 0.0087945
1081.289 | 0.0095111
1084.437 | 0.0073909
1087.584 | 0.0040083
1090.732 | 0.0043213
1093.88 | 0.0058938
1097.028 | 0.005858
1100.175 | 0.0084565
1103.323 | 0.013459
1106.471 | 0.017742
1109.618 | 0.019141
1112.766 | 0.019048
1115.914 | 0.023146
1119.062 | 0.041852
1122.209 | 0.085138
1125.357 | 0.14933
1128.505 | 0.20758
1131.652 | 0.18151
1134.8 | 0.095668
1137.948 | 0.036896
1141.096 | 0.017424
1144.243 | 0.0084874
1147.391 | 0.0052907
1150.539 | 0.0028748
1153.686 | 0.0023685
1156.834 | 0.0038329
1159.982 | 0.0081522
1163.13 | 0.018408
1166.277 | 0.027376
1169.425 | 0.027243
1172.573 | 0.019529
1175.72 | 0.0080507
1178.868 | 0.0029379
1182.016 | 0.0033114
1185.164 | 0.0012661
1188.311 | 0.0042116
1191.459 | 0.005402
1194.607 | 0.0051344
1197.754 | 0.0056249
1200.902 | 0.0051726
1204.05 | 0.0044038
1207.197 | 0.0057571
1210.345 | 0.006474
1213.493 | 0.0054275
1216.641 | 0.0052403
1219.788 | 0.0049501
1222.936 | 0.0022459
1226.084 | 0.002952
1229.231 | 3.574e-05
1232.379 | -0.00055937
1235.527 | 0.00047571
1238.675 | 0.00017144
1241.822 | -0.00015789
1244.97 | 0.00030419
1248.118 | 0.0003619
1251.265 | 0.00149
1254.413 | 0.004349
1257.561 | 0.0048622
1260.709 | 0.0045619
1263.856 | 0.0085383
1267.004 | 0.0086292
1270.152 | 0.0092043
1273.299 | 0.0090326
1276.447 | 0.0097634
1279.595 | 0.0099277
1282.743 | 0.015267
1285.89 | 0.039774
1289.038 | 0.11734
1292.186 | 0.21837
1295.333 | 0.23913
1298.481 | 0.15535
1301.629 | 0.061101
1304.777 | 0.023118
1307.924 | 0.013798
1311.072 | 0.007565
1314.22 | 0.0044055
1317.367 | 0.00045127
1320.515 | 0.00038127
1323.663 | -0.00024892
1326.81 | 0.0014113
1329.958 | 0.0010443
1333.106 | -0.0010859
1336.254 | 0.00037364
1339.401 | 0.0020551
1342.549 | 0.0027618
1345.697 | 0.0019333
1348.844 | 0.00078164
1351.992 | 0.0012154
1355.14 | 0.0020903
1358.288 | 0.0033825
1361.435 | 0.0078984
1364.583 | 0.013373
1367.731 | 0.0154
1370.878 | 0.015806
1374.026 | 0.0094905
1377.174 | 0.0049716
1380.322 | 0.0021257
1383.469 | 0.0009381
1386.617 | 0.0010487
1389.765 | 0.00041542
1392.912 | 0.0014599
1396.06 | 0.0037609
1399.208 | 0.0056825
1402.356 | 0.0098062
1405.503 | 0.017926
1408.651 | 0.035802
1411.799 | 0.070409
1414.946 | 0.10517
1418.094 | 0.10883
1421.242 | 0.080783
1424.39 | 0.052089
1427.537 | 0.042385
1430.685 | 0.054692
1433.833 | 0.084589
1436.98 | 0.11764
1440.128 | 0.11997
1443.276 | 0.091335
1446.423 | 0.070448
1449.571 | 0.06466
1452.719 | 0.065447
1455.867 | 0.070013
1459.014 | 0.077582
1462.162 | 0.074886
1465.31 | 0.066137
1468.457 | 0.05219
1471.605 | 0.03701
1474.753 | 0.026021
1477.901 | 0.019214
1481.048 | 0.013784
1484.196 | 0.0096782
1487.344 | 0.0073562
1490.491 | 0.0052201
1493.639 | 0.0033667
1496.787 | 0.0035729
1499.935 | 0.0048018
1503.082 | 0.0034761
1506.23 | 0.0032811
1509.378 | 0.0030505
1512.525 | 0.00602
1515.673 | 0.0075348
1518.821 | 0.015822
1521.969 | 0.030767
1525.116 | 0.05135
1528.264 | 0.055425
1531.412 | 0.039988
1534.559 | 0.021448
1537.707 | 0.0098464
1540.855 | 0.005219
1544.003 | 0.0039155
1547.15 | 0.0035248
1550.298 | 0.0034098
1553.446 | 0.0028496
1556.593 | 0.0017392
1559.741 | 0.0014773
1562.889 | 0.0023532
1566.037 | 0.0025704
1569.184 | 0.00196
1572.332 | 0.0024487
1575.48 | 0.0033624
1578.627 | 0.0030348
1581.775 | 0.0042959
1584.923 | 0.0070437
1588.07 | 0.010776
1591.218 | 0.011292
1594.366 | 0.0077663
1597.514 | 0.0050613
1600.661 | 0.0061875
1603.809 | 0.0058828
1606.957 | 0.010717
1610.104 | 0.0085864
1613.252 | 0.0086061
1616.4 | 0.0070241
1619.548 | 0.0044261
1622.695 | 0.0034292
1625.843 | 0.0027246
1628.991 | 0.0039283
1632.138 | 0.0041771
1635.286 | 0.0024975
1638.434 | 0.00097434
1641.582 | 0.0014243
1644.729 | 0.0019792
1647.877 | 0.0013248
1651.025 | 0.0011064
1654.172 | 0.0012241
1657.32 | 0.0018526
1660.468 | 0.0022372
1663.616 | 0.00072321
1666.763 | 0.00021004
1669.911 | 0.0014258
1673.059 | 0.0011356
1676.206 | 1.9099e-05
1679.354 | -0.00065307
1682.502 | 0.00011651
1685.65 | 0.00067838
1688.797 | 0.0013048
1691.945 | 0.0011196
1695.093 | -0.00027725
1698.24 | -2.5106e-06
1701.388 | -0.00034502
1704.536 | -0.00023412
1707.683 | 0.0021433
1710.831 | -0.00081508
1713.979 | 0.00040375
1717.127 | 0.0012633
1720.274 | 0.0017569
1723.422 | 0.00086546
1726.57 | 0.00083127
1729.717 | 0.0016408
1732.865 | 0.00064478
1736.013 | -0.0012321
1739.161 | 0.0015866
1742.308 | 0.00078852
1745.456 | -0.0013189
1748.604 | 0.00016783
1751.751 | 0.00069085
1754.899 | 0.00040419
1758.047 | 0.00072075
1761.195 | 0.00066992
1764.342 | 0.00094163
1767.49 | 0.0018547
1770.638 | 0.00041977
1773.785 | -0.00021109
1776.933 | 0.0015466
1780.081 | 0.001175
1783.229 | 0.00015064
1786.376 | 0.0005465
1789.524 | 0.00037401
1792.672 | 0.0010888
1795.819 | 0.0020917
1798.967 | 0.0010238
1802.115 | 0.00024314
1805.263 | 0.00075533
1808.41 | 0.0013285
1811.558 | 0.0011577
1814.706 | 0.0013454
1817.853 | 0.0014057
1821.001 | -0.00049916
1824.149 | -0.00043081
1827.296 | 0.0014718
1830.444 | 0.00068388
1833.592 | -0.00048671
1836.74 | 0.00023595
1839.887 | 0.0010871
1843.035 | 0.0016673
1846.183 | 0.0012867
1849.33 | 0.00077801
1852.478 | 0.00057019
1855.626 | 0.0019092
1858.774 | 0.0022462
1861.921 | 0.0020632
1865.069 | 0.002652
1868.217 | 0.0021594
1871.364 | 0.0013337
1874.512 | 0.0017301
1877.66 | 0.0009745
1880.808 | 0.0021113
1883.955 | 0.0016243
1887.103 | 0.0026799
1890.251 | 0.0015637
1893.398 | -0.00011483
1896.546 | 0.0013107
1899.694 | 0.0014399
1902.842 | 0.0011381
1905.989 | 0.0010782
1909.137 | 0.0023255
1912.285 | 0.001582
1915.432 | 0.0018416
1918.58 | 0.0030046
1921.728 | 0.0022626
1924.876 | 0.0015594
1928.023 | 0.0011319
1931.171 | 0.00056909
1934.319 | 0.0011444
1937.466 | 0.0030189
1940.614 | 0.0024167
1943.762 | 0.0015311
1946.909 | 0.0035367
1950.057 | 0.00099778
1953.205 | 0.0016901
1956.353 | 0.00091702
1959.5 | 0.00012004
1962.648 | 0.0012594
1965.796 | 0.0030936
1968.943 | 0.0028027
1972.091 | 0.0012513
1975.239 | 0.0012772
1978.387 | 0.00086156
1981.534 | 0.00076278
1984.682 | 0.0023486
1987.83 | 0.0015536
1990.977 | 0.0037047
1994.125 | 0.002694
1997.273 | 0.0019388
2000.421 | 0.0010062
2003.568 | 0.0014451
2006.716 | 0.0005314
2009.864 | 0.0021575
2013.011 | -0.00032386
2016.159 | -0.0001666
2019.307 | 0.0011539
2022.455 | 0.0016877
2025.602 | 0.0013089
2028.75 | 0.0025788
2031.898 | 0.0022249
2035.045 | 0.00066295
2038.193 | 0.000718
2041.341 | 0.0017381
2044.489 | 0.00073214
2047.636 | 0.00044825
2050.784 | 0.00089607
2053.932 | 0.0010515
2057.079 | 0.00092193
2060.227 | 0.00041785
2063.375 | 0.00030555
2066.522 | 0.0018175
2069.67 | 0.0019317
2072.818 | 0.0015012
2075.966 | 0.0020137
2079.113 | 0.002956
2082.261 | 0.0023332
2085.409 | 0.0023097
2088.556 | 0.0032763
2091.704 | 0.0025482
2094.852 | 0.00084313
2098 | 0.00058166
2101.147 | 0.00045301
2104.295 | 0.0013052
2107.443 | 0.0023621
2110.59 | 0.0025519
2113.738 | 0.002705
2116.886 | 0.0025063
2120.034 | 0.0032728
2123.181 | 0.002734
2126.329 | 0.0016661
2129.477 | 0.0020323
2132.624 | 0.0023568
2135.772 | 0.0010975
2138.92 | -0.00010975
2142.068 | -0.00034229
2145.215 | 0.0013198
2148.363 | 0.00040122
2151.511 | 0.00015159
2154.658 | 0.00088052
2157.806 | 0.0020119
2160.954 | 4.741e-05
2164.102 | -0.00026097
2167.249 | 0.0033677
2170.397 | 0.0030705
2173.545 | 0.0047487
2176.692 | 0.0032067
2179.84 | 0.0047482
2182.988 | 0.0041443
2186.135 | 0.0045577
2189.283 | 0.0046229
2192.431 | 0.0049302
2195.579 | 0.0053701
2198.726 | 0.0013957
2201.874 | 0.0019012
2205.022 | 0.002794
2208.169 | 0.0039397
2211.317 | 0.0015615
2214.465 | 0.0016589
2217.613 | 0.0012379
2220.76 | 0.0018418
2223.908 | 0.0020914
2227.056 | 0.0012809
2230.203 | 0.003192
2233.351 | 0.0037526
2236.499 | 0.0036277
2239.647 | 0.0036054
2242.794 | 0.0036166
2245.942 | 0.0035276
2249.09 | 0.0022596
2252.237 | 0.00084801
2255.385 | 0.0014582
2258.533 | 0.0017699
2261.681 | 0.0017301
2264.828 | 0.0020923
2267.976 | 0.0012524
2271.124 | -0.00026072
2274.271 | 0.0014094
2277.419 | 0.0023931
2280.567 | 0.00014862
2283.715 | 0.00026227
2286.862 | 0.00031026
2290.01 | 0.0010084
2293.158 | 0.0030506
2296.305 | 0.0015166
2299.453 | 0.0022074
2302.601 | -0.00056539
2305.749 | 0.00013908
2308.896 | 0.0022994
2312.044 | -0.00034163
2315.192 | -0.00093134
2318.339 | 0.00013623
2321.487 | 0.00043092
2324.635 | 0.0006851
2327.782 | 0.0021949
2330.93 | 0.0032975
2334.078 | 0.0026626
2337.226 | 0.0013566
2340.373 | 0.0018728
2343.521 | 0.00086047
2346.669 | 0.00068389
2349.816 | 0.0012038
2352.964 | 0.0018939
2356.112 | 0.0020705
2359.26 | 0.00078342
2362.407 | 0.0064057
2365.555 | 0.003681
2368.703 | 0.0018669
2371.85 | 0.0010637
2374.998 | 0.0025662
2378.146 | 0.00081891
2381.294 | 0.0008619
2384.441 | 0.0017498
2387.589 | 0.002531
2390.737 | 0.0031247
2393.884 | 0.0031749
2397.032 | 0.0016854
2400.18 | 0.0021141
2403.328 | 0.0019419
2406.475 | 0.0019615
2409.623 | 0.0029221
2412.771 | 0.003226
2415.918 | 0.0046827
2419.066 | 0.0072138
2422.214 | 0.0059283
2425.362 | 0.0066714
2428.509 | 0.0057954
2431.657 | 0.0055265
2434.805 | 0.0041326
2437.952 | 0.0050561
2441.1 | 0.0023844
2444.248 | 0.0045934
2447.395 | 0.00036776
2450.543 | 0.0016501
2453.691 | 0.0019655
2456.839 | 0.0023783
2459.986 | 0.0022206
2463.134 | 0.0027343
2466.282 | 0.0013498
2469.429 | -0.00013214
2472.577 | -0.00069094
2475.725 | 0.0013123
2478.873 | 0.00081371
2482.02 | -0.00061716
2485.168 | 0.001568
2488.316 | 0.0011289
2491.463 | 0.0013284
2494.611 | 0.0028354
2497.759 | 0.00069353
2500.907 | 0.0036732
2504.054 | 0.0016844
2507.202 | 0.0036819
2510.35 | 0.0010202
2513.497 | 0.0017276
2516.645 | 0.0033769
2519.793 | 0.0020013
2522.941 | 0.0015225
2526.088 | 0.0031492
2529.236 | 0.0022662
2532.384 | 0.0022014
2535.531 | 0.0040787
2538.679 | 0.0041119
2541.827 | 0.0023586
2544.975 | 0.003415
2548.122 | 0.0020387
2551.27 | 0.0017427
2554.418 | 0.0030033
2557.565 | 0.0036843
2560.713 | 0.0039371
2563.861 | 0.0014298
2567.008 | 0.0028279
2570.156 | 0.0037014
2573.304 | 0.0039025
2576.452 | 0.0036505
2579.599 | 0.0054723
2582.747 | 0.0055957
2585.895 | 0.0058065
2589.042 | 0.007297
2592.19 | 0.0080689
2595.338 | 0.0064234
2598.486 | 0.0079723
2601.633 | 0.0065743
2604.781 | 0.0088658
2607.929 | 0.005642
2611.076 | 0.0068348
2614.224 | 0.0072004
2617.372 | 0.0089081
2620.52 | 0.0085067
2623.667 | 0.0070818
2626.815 | 0.0070216
2629.963 | 0.0071843
2633.11 | 0.0063257
2636.258 | 0.0067043
2639.406 | 0.0092247
2642.554 | 0.0071033
2645.701 | 0.0054849
2648.849 | 0.0098
2651.997 | 0.012861
2655.144 | 0.010065
2658.292 | 0.010528
2661.44 | 0.011106
2664.588 | 0.0089768
2667.735 | 0.0065255
2670.883 | 0.006868
2674.031 | 0.0075203
2677.178 | 0.0082852
2680.326 | 0.0074311
2683.474 | 0.0093819
2686.621 | 0.0096364
2689.769 | 0.011022
2692.917 | 0.012045
2696.065 | 0.013917
2699.212 | 0.01649
2702.36 | 0.021008
2705.508 | 0.024792
2708.655 | 0.027225
2711.803 | 0.031659
2714.951 | 0.037988
2718.099 | 0.040389
2721.246 | 0.041625
2724.394 | 0.043615
2727.542 | 0.034377
2730.689 | 0.028289
2733.837 | 0.022344
2736.985 | 0.017438
2740.133 | 0.010879
2743.28 | 0.0088845
2746.428 | 0.0055236
2749.576 | 0.0049182
2752.723 | 0.0061086
2755.871 | 0.0051551
2759.019 | 0.0023884
2762.167 | 0.0036475
2765.314 | 0.0023482
2768.462 | 0.0015539
2771.61 | 0.0024859
2774.757 | 0.0010979
2777.905 | 0.0039636
2781.053 | 0.00037324
2784.201 | -0.0013729
2787.348 | -0.001052
2790.496 | 0.00082352
2793.644 | 0.0018103
2796.791 | -0.00025177
2799.939 | 0.001319
2803.087 | 0.003152
2806.234 | 0.0034083
2809.382 | 0.005707
2812.53 | 0.0083278
2815.678 | 0.010884
2818.825 | 0.016397
2821.973 | 0.020266
2825.121 | 0.032237
2828.268 | 0.052993
2831.416 | 0.091193
2834.564 | 0.15237
2837.712 | 0.23898
2840.859 | 0.35075
2844.007 | 0.4675
2847.155 | 0.5206
2850.302 | 0.51726
2853.45 | 0.46237
2856.598 | 0.40034
2859.746 | 0.3478
2862.893 | 0.31659
2866.041 | 0.30682
2869.189 | 0.31374
2872.336 | 0.36234
2875.484 | 0.49457
2878.632 | 0.77967
2881.78 | 1
2884.927 | 0.90276
2888.075 | 0.61205
2891.223 | 0.40458
2894.37 | 0.32028
2897.518 | 0.28836
2900.666 | 0.2663
2903.814 | 0.24084
2906.961 | 0.21098
2910.109 | 0.18411
2913.257 | 0.16438
2916.404 | 0.14919
2919.552 | 0.14217
2922.7 | 0.13441
2925.848 | 0.13479
2928.995 | 0.13622
2932.143 | 0.13161
2935.291 | 0.12098
2938.438 | 0.098768
2941.586 | 0.081299
2944.734 | 0.061577
2947.881 | 0.04439
2951.029 | 0.033886
2954.177 | 0.034867
2957.325 | 0.035111
2960.472 | 0.034445
2963.62 | 0.029911
2966.768 | 0.027265
2969.915 | 0.019919
2973.063 | 0.016704
2976.211 | 0.01346
2979.359 | 0.014654
2982.506 | 0.013398
2985.654 | 0.013105
2988.802 | 0.014239
2991.949 | 0.0098047
2995.097 | 0.010872
2998.245 | 0.009598
3001.393 | 0.008974
3004.54 | 0.007126
3007.688 | 0.0085528
3010.836 | 0.006714
3013.983 | 0.0061808
3017.131 | 0.0097787
3020.279 | 0.0072767
3023.427 | 0.0087014
3026.574 | 0.0065759
3029.722 | 0.0054833
3032.87 | 0.0069188
3036.017 | 0.0037464
3039.165 | 0.0039156
3042.313 | 0.0038343
3045.461 | 0.0036818
3048.608 | 0.0046577
3051.756 | 0.0052374
3054.904 | 0.0056
3058.051 | 0.0070401
3061.199 | 0.004366
3064.347 | 0.0047481
3067.494 | 0.0056776
3070.642 | 0.0052312
3073.79 | 0.0068892
3076.938 | 0.0095425
3080.085 | 0.0057109
3083.233 | 0.0049124
3086.381 | 0.0053961
3089.528 | 0.0044006
3092.676 | 0.0029185
3095.824 | 0.0035713
3098.972 | 0.0061708
3102.119 | 0.0034256
3105.267 | 0.0030751
3108.415 | 0.0016778
3111.562 | 0.000741
3114.71 | 0.001573
3117.858 | 0.00095733
3121.006 | 0.0005037
3124.153 | 0.0021628
3127.301 | -0.00055634
3130.449 | 0.0010274
3133.596 | 0.0016001
3136.744 | 0.0011973
3139.892 | 0.00070857
3143.04 | 0.0011698
3146.187 | 0.0018676
3149.335 | 0.0015661
3152.483 | 0.0019589
3155.63 | 0.001149
3158.778 | 0.001174
3161.926 | -0.00016291
3165.074 | 0.00059282
3168.221 | 0.00085565
3171.369 | 0.00094642
3174.517 | 0.002382
3177.664 | 0.0002121
3180.812 | 0.0016136
3183.96 | 0.0018395
3187.107 | 0.0013621
3190.255 | 0.0015588
3193.403 | 0.0017857
3196.551 | 0.0033057
3199.698 | 0.0029521
3202.846 | 0.0016025
3205.994 | 0.0013855
3209.141 | 0.00071863
3212.289 | -8.1527e-05
3215.437 | 0.00076081
3218.585 | 0.0013564
3221.732 | 0.0036091
3224.88 | 0.00016043
3228.028 | -0.0011098
3231.175 | 0.00054295
3234.323 | 0.0031545
3237.471 | 0.00059669
3240.619 | -0.00025314
3243.766 | 0.0001702
3246.914 | 0.00039561
3250.062 | 0.00085376
3253.209 | 0.0010929
3256.357 | -0.0005089
3259.505 | 0.00019078
3262.653 | -0.00015835
3265.8 | -9.9217e-05
3268.948 | 0.002478
3272.096 | 0.00070453
3275.243 | -0.00037099
3278.391 | 0.00069266
3281.539 | -0.00030401
3284.687 | -0.00031067
3287.834 | 0.00028764
3290.982 | 0.0014794
3294.13 | 0.0036979
3297.277 | 0.0016977
3300.425 | 0.0021247
3303.573 | 3.6978e-05
3306.72 | 0.00061027
3309.868 | 0.0010897
3313.016 | 0.0012739
3316.164 | 0.00025594
3319.311 | 3.6326e-05
3322.459 | 5.1873e-05
3325.607 | -0.00037971
3328.754 | 0.00021327
3331.902 | 0.0011107
3335.05 | -0.00038822
3338.198 | 0.00032386
3341.345 | 0.0021331
3344.493 | 0.00095409
3347.641 | 0.0018383
3350.788 | -0.00078309
3353.936 | 0.00021769
3357.084 | 0.0022378
3360.232 | 0.0016357
3363.379 | 0.00040329
3366.527 | 0.0005472
3369.675 | 0.00271
3372.822 | 0.0024265
3375.97 | 0.0020238
3379.118 | 2.9479e-05
3382.266 | 0.0010707
3385.413 | 0.0019398
3388.561 | 0.0014436
3391.709 | 0.002315
3394.856 | 0.0011085
3398.004 | 1.8886e-05
3401.152 | 0.0014392
3404.3 | 0.0021614
3407.447 | 0.0022775
3410.595 | 0.0014563
3413.743 | 0.0011449
3416.89 | 0.0021707
3420.038 | 0.0017113
3423.186 | 0.0012847
3426.333 | 0.0021244
3429.481 | 0.0010249
3432.629 | 0.00047714
3435.777 | 0.0015029
3438.924 | 0.0018215
3442.072 | 0.0021767
3445.22 | 0.0015482
3448.367 | 0.0012499
3451.515 | 0.0020564
3454.663 | 0.0026314
3457.811 | 0.0025046
3460.958 | 0.00094417
3464.106 | 0.0015167
3467.254 | 0.0045151
3470.401 | 0.0012332
3473.549 | 0.0023265
3476.697 | 0.0037107
3479.845 | 0.0034811
3482.992 | 0.0006581
3486.14 | 0.0016889

## Subsample (SS) #1
| Subsample (SS) #1 |  |  | Subsampled volume = 0.5 mL
Index | Area (µm²) | Angle | Perim. | Circ. | Feret diameter (µm) | Area-equivalent diameter (µm) | FeretX | FeretY | FeretAngle | MinFeret | AR | Round | Solidity | Volume (µm³) | Mass (mg) | Row Labels | Count of MinFeret | Sum of Mass (mg) | Micrograph (2.6 µm/pixel)
1 | 8456.76 | 339.22 | 176.2 | 0.92 | 107.74 | 103.7928 | 5919 | 424 | 160.25 | 101.4 | 1.02 | 0.98 | 0.97 | 654499.4883 | 0.00062505 | 95-100 | 1 | 0.00059306
2 | 11255.4 | 393.11 | 129.08 | 0.92 | 124.28 | 119.7418 | 6467 | 631 | 105.78 | 119.6 | 1.03 | 0.97 | 0.97 | 1004574.4573 | 0.00095937 | 100-105 | 2 | 0.0013931
3 | 10626.72 | 382.71 | 82.88 | 0.91 | 120.22 | 116.3496 | 4035 | 904 | 68.43 | 117 | 1 | 1 | 0.97 | 909302.8841 | 0.00086838 | 105-110 | 18 | 0.014229
4 | 2832.44 | 195.03 | 91.6 | 0.94 | 63.74 | 60.0683 | 6302 | 942 | 101.77 | 57.2 | 1.05 | 0.95 | 0.95 | 135523.4894 | 0.00012942 | 110-115 | 24 | 0.020473
5 | 9768.2 | 365.59 | 147.88 | 0.92 | 116.1 | 111.5507 | 6815 | 1002 | 145.95 | 110.31 | 1.03 | 0.97 | 0.97 | 818983.3204 | 0.00078213 | 115-120 | 24 | 0.023698
6 | 9349.08 | 357.6 | 17.36 | 0.92 | 112.88 | 109.1314 | 5127 | 1016 | 165.32 | 109.2 | 1.02 | 0.98 | 0.97 | 752712.9709 | 0.00071884 | 120-125 | 8 | 0.0093784
7 | 12580.36 | 412.39 | 41.13 | 0.93 | 130.86 | 126.5936 | 5111 | 1157 | 20.96 | 124.8 | 1.02 | 0.98 | 0.97 | 1172732.9986 | 0.00112 | Grand Total | 77 | 0.069766
8 | 10883.6 | 387.91 | 71.04 | 0.91 | 121.56 | 117.7474 | 3707 | 1176 | 41.53 | 117 | 1.01 | 0.99 | 0.97 | 940048.957 | 0.00089775
9 | 9592.44 | 361.28 | 122.6 | 0.92 | 117 | 110.5426 | 4531 | 1140 | 126.87 | 108.47 | 1.07 | 0.94 | 0.97 | 838177.47 | 0.00080046
10 | 10065.64 | 369.52 | 178.88 | 0.93 | 117.72 | 113.2364 | 4483 | 1175 | 30.53 | 111.8 | 1.01 | 0.99 | 0.97 | 853746.9358 | 0.00081533
11 | 10809.24 | 384.86 | 144.11 | 0.92 | 121.73 | 117.3445 | 6898 | 1176 | 160.02 | 117 | 1.03 | 0.97 | 0.97 | 943998.412 | 0.00090152
12 | 9038.12 | 352.4 | 2.69 | 0.91 | 115.4 | 107.3011 | 4089 | 1189 | 165.65 | 103.69 | 1.11 | 0.9 | 0.97 | 804258.8048 | 0.00076807
13 | 11586.64 | 408.45 | 158.88 | 0.87 | 135.82 | 121.491 | 4540 | 1442 | 5.49 | 112.64 | 1.19 | 0.84 | 0.96 | 1311201.9187 | 0.0012522
14 | 11728.6 | 401.99 | 82.57 | 0.91 | 130.23 | 122.2329 | 2919 | 1562 | 63.95 | 119.6 | 1.05 | 0.95 | 0.97 | 1155876.7266 | 0.0011039
15 | 10146.76 | 373.83 | 147.29 | 0.91 | 117.72 | 113.6917 | 2872 | 1554 | 149.47 | 114.4 | 1.01 | 0.99 | 0.97 | 853746.9358 | 0.00081533
16 | 12830.48 | 432.56 | 142.07 | 0.86 | 149.2 | 127.8458 | 2261 | 1608 | 138.53 | 122.2 | 1.18 | 0.85 | 0.97 | 1738140.4521 | 0.0016599
17 | 10241.4 | 375.36 | 170.24 | 0.91 | 119.29 | 114.2207 | 5630 | 1625 | 159.59 | 111.8 | 1.05 | 0.95 | 0.97 | 888363.1051 | 0.00084839
18 | 10268.44 | 377.51 | 142.86 | 0.91 | 120.19 | 114.3714 | 2681 | 1687 | 128.85 | 113.29 | 1.04 | 0.96 | 0.97 | 908622.3248 | 0.00086773
19 | 9362.6 | 358.23 | 143.53 | 0.92 | 113 | 109.2103 | 2647 | 1747 | 23.03 | 108.47 | 1.02 | 0.98 | 0.97 | 755116.0967 | 0.00072114
20 | 10829.52 | 388.54 | 132.65 | 0.9 | 121.4 | 117.4545 | 2459 | 1905 | 80.13 | 118.81 | 1 | 1 | 0.96 | 936341.9 | 0.00089421
21 | 9984.52 | 371.05 | 164.87 | 0.91 | 122.64 | 112.7791 | 4400 | 2577 | 147.99 | 106.6 | 1.11 | 0.9 | 0.97 | 965327.8218 | 0.00092189
22 | 10680.8 | 384.23 | 151.01 | 0.91 | 120.64 | 116.6453 | 2464 | 2658 | 142.88 | 117 | 1.01 | 0.99 | 0.97 | 918866.4258 | 0.00087752
23 | 6097.52 | 289.63 | 62.17 | 0.91 | 92 | 88.1337 | 8143 | 2691 | 132.71 | 88.4 | 1 | 1 | 0.96 | 407513.3867 | 0.00038918
24 | 12181.52 | 407.19 | 13.89 | 0.92 | 128.46 | 124.5707 | 8423 | 2740 | 35.94 | 122.2 | 1.01 | 0.99 | 0.97 | 1109384.6455 | 0.0010595
25 | 11221.6 | 393.11 | 25.25 | 0.91 | 124.85 | 119.5618 | 2525 | 2824 | 31.37 | 119.6 | 1.03 | 0.97 | 0.97 | 1018460.143 | 0.00097263
26 | 10437.44 | 376.88 | 41.42 | 0.92 | 119.09 | 115.3087 | 2970 | 2886 | 36.12 | 114.4 | 1 | 1 | 0.97 | 883902.3397 | 0.00084413
27 | 10680.8 | 382.71 | 79 | 0.92 | 119.97 | 116.6453 | 3079 | 2934 | 60.1 | 117 | 1.01 | 0.99 | 0.97 | 903641.9295 | 0.00086298
28 | 12364.04 | 413.02 | 23.82 | 0.91 | 129.53 | 125.5005 | 6850 | 2951 | 51.52 | 124.8 | 1.01 | 0.99 | 0.97 | 1137337.8547 | 0.0010862
29 | 11174.28 | 393.11 | 78.58 | 0.91 | 124.18 | 119.3095 | 9210 | 3094 | 109.57 | 117 | 1.04 | 0.96 | 0.97 | 1002151.4616 | 0.00095705
30 | 11154 | 401.73 | 114.94 | 0.87 | 135.42 | 119.2012 | 8776 | 3118 | 93.3 | 109.3 | 1.19 | 0.84 | 0.97 | 1299651.2418 | 0.0012412
31 | 11248.64 | 391.59 | 10.91 | 0.92 | 125.02 | 119.7058 | 1953 | 3163 | 16.93 | 117 | 1.03 | 0.97 | 0.97 | 1022626.1202 | 0.00097661
32 | 3704.48 | 236.37 | 29.97 | 0.83 | 80.77 | 68.6956 | 8787 | 3186 | 56.82 | 60.46 | 1.33 | 0.75 | 0.95 | 275758.3338 | 0.00026335
33 | 5556.72 | 277.71 | 129.5 | 0.91 | 88.55 | 84.1346 | 6098 | 3307 | 130.24 | 83.2 | 1.02 | 0.98 | 0.96 | 363365.8378 | 0.00034701
34 | 11593.4 | 398.94 | 2.15 | 0.92 | 126.79 | 121.5264 | 5826 | 3325 | 151.86 | 121.8 | 1.01 | 0.99 | 0.97 | 1066678.1603 | 0.0010187
35 | 10194.08 | 373.83 | 45.59 | 0.92 | 119.09 | 113.9565 | 3518 | 3359 | 36.12 | 113.46 | 1.04 | 0.97 | 0.97 | 883902.3397 | 0.00084413
36 | 9869.6 | 368 | 13.24 | 0.92 | 117.32 | 112.1282 | 3559 | 3360 | 12.8 | 109.2 | 1.03 | 0.97 | 0.97 | 845073.6506 | 0.00080705
37 | 9362.6 | 357.6 | 167 | 0.92 | 113.96 | 109.2103 | 5856 | 3360 | 145.22 | 109.2 | 1.01 | 0.99 | 0.97 | 774525.4975 | 0.00073967
38 | 8071.44 | 330.34 | 103.55 | 0.93 | 105.87 | 101.4006 | 4165 | 3378 | 114.68 | 98.8 | 1.03 | 0.97 | 0.97 | 621007.9171 | 0.00059306
39 | 10052.12 | 371.68 | 94.83 | 0.91 | 116.86 | 113.1603 | 4111 | 3394 | 159.15 | 111.8 | 1.02 | 0.98 | 0.97 | 835172.2267 | 0.00079759
40 | 10079.16 | 372.31 | 121.26 | 0.91 | 117 | 113.3124 | 8291 | 3406 | 126.87 | 113.99 | 1.01 | 0.99 | 0.97 | 838177.47 | 0.00080046 |  |  |  | Overlay
41 | 12039.56 | 407.19 | 95.4 | 0.91 | 127.19 | 123.8427 | 4554 | 3438 | 130.86 | 122.2 | 1.01 | 0.99 | 0.97 | 1076805.5856 | 0.0010283
42 | 11140.48 | 393.11 | 136.62 | 0.91 | 123.52 | 119.1289 | 8224 | 3454 | 139.27 | 119.6 | 1.02 | 0.98 | 0.97 | 986257.3361 | 0.00094188
43 | 10532.08 | 380.29 | 131.23 | 0.92 | 121.4 | 115.8303 | 6534 | 3502 | 99.87 | 113.99 | 1.03 | 0.97 | 0.97 | 936341.9 | 0.00089421
44 | 10795.72 | 384.23 | 51.41 | 0.92 | 121.56 | 117.2711 | 1799 | 3541 | 41.53 | 117 | 1.02 | 0.98 | 0.97 | 940048.957 | 0.00089775
45 | 9822.28 | 368 | 107.81 | 0.91 | 116.42 | 111.8591 | 8314 | 3562 | 119.43 | 111.62 | 1.03 | 0.97 | 0.97 | 825773.9578 | 0.00078861
46 | 9761.44 | 364.32 | 167.64 | 0.92 | 115.49 | 111.5121 | 6117 | 3633 | 148.82 | 109.2 | 1.02 | 0.98 | 0.97 | 806141.9875 | 0.00076987
47 | 10065.64 | 373.83 | 62.49 | 0.91 | 117.89 | 113.2364 | 8253 | 3736 | 41.42 | 111.8 | 1.03 | 0.97 | 0.97 | 857450.9795 | 0.00081887
48 | 10052.12 | 381.19 | 127.6 | 0.87 | 120.64 | 113.1603 | 8067 | 3741 | 127.12 | 112.49 | 1.06 | 0.95 | 0.96 | 918866.4258 | 0.00087752
49 | 11505.52 | 417.33 | 99.94 | 0.83 | 141.88 | 121.0649 | 9049 | 3742 | 103.78 | 117 | 1.16 | 0.86 | 0.95 | 1494658.3652 | 0.0014274
50 | 9457.24 | 359.12 | 169.97 | 0.92 | 113.57 | 109.7608 | 5989 | 3764 | 164.05 | 109.2 | 1.01 | 0.99 | 0.97 | 766600.8122 | 0.0007321
51 | 9322.04 | 356.08 | 152.1 | 0.92 | 114.16 | 108.9734 | 8708 | 3765 | 149.93 | 108.47 | 1.04 | 0.97 | 0.97 | 778610.5392 | 0.00074357
52 | 2873 | 195.03 | 23.67 | 0.95 | 64.22 | 60.4969 | 1686 | 3783 | 21.37 | 59.8 | 1.02 | 0.98 | 0.96 | 138608.3205 | 0.00013237
53 | 500.24 | 101.06 | 116.79 | 0.62 | 43.04 | 25.2438 | 8097 | 3780 | 115.02 | 16.28 | 3.05 | 0.33 | 0.83 | 41724.8886 | 3.9847e-05
54 | 10944.44 | 386.39 | 25.22 | 0.92 | 122.23 | 118.0761 | 7848 | 3871 | 29.29 | 117 | 1.02 | 0.98 | 0.97 | 955678.5379 | 0.00091267
55 | 9247.68 | 359.76 | 29.81 | 0.9 | 113.36 | 108.5379 | 2355 | 4062 | 36.61 | 107.45 | 1.03 | 0.97 | 0.96 | 762356.1522 | 0.00072805
56 | 9612.72 | 361.28 | 8.41 | 0.93 | 114.16 | 110.6594 | 7171 | 4085 | 59.93 | 109.2 | 1.01 | 0.99 | 0.97 | 778610.5392 | 0.00074357
57 | 9896.64 | 370.79 | 143.29 | 0.9 | 117.58 | 112.2817 | 2375 | 4075 | 144.9 | 112.15 | 1.03 | 0.97 | 0.96 | 850704.5688 | 0.00081242
58 | 9808.76 | 368.63 | 166.55 | 0.91 | 115.46 | 111.7821 | 8304 | 4111 | 54.16 | 111.8 | 1 | 1 | 0.96 | 805513.9337 | 0.00076927
59 | 9240.92 | 353.92 | 163.87 | 0.93 | 112.49 | 108.4983 | 7188 | 4092 | 146.31 | 106.6 | 1.02 | 0.98 | 0.97 | 744938.0333 | 0.00071142
60 | 9639.76 | 362.8 | 141.86 | 0.92 | 116.42 | 110.8149 | 1738 | 4136 | 119.43 | 109.2 | 1.01 | 0.99 | 0.97 | 825773.9578 | 0.00078861
61 | 11370.32 | 397.42 | 137.38 | 0.9 | 129.17 | 120.3515 | 7108 | 4157 | 130.1 | 115.82 | 1.1 | 0.91 | 0.97 | 1127881.2486 | 0.0010771
62 | 9761.44 | 364.32 | 142.56 | 0.92 | 117.58 | 111.5121 | 1730 | 4180 | 125.1 | 109.2 | 1.05 | 0.95 | 0.97 | 850704.5688 | 0.00081242
63 | 9781.72 | 364.96 | 131.78 | 0.92 | 115.49 | 111.6279 | 7996 | 4207 | 121.18 | 111.8 | 1.02 | 0.98 | 0.97 | 806141.9875 | 0.00076987
64 | 12282.92 | 411.49 | 87.82 | 0.91 | 129.53 | 125.0881 | 6873 | 4314 | 79.59 | 124.8 | 1.03 | 0.97 | 0.97 | 1137337.8547 | 0.0010862
65 | 10099.44 | 372.31 | 65.6 | 0.92 | 117.32 | 113.4263 | 7003 | 4265 | 102.8 | 113.94 | 1.02 | 0.99 | 0.97 | 845073.6506 | 0.00080705
66 | 10559.12 | 380.56 | 75.97 | 0.92 | 120.44 | 115.9789 | 7084 | 4383 | 76.26 | 114.4 | 1.03 | 0.97 | 0.97 | 914304.0388 | 0.00087316
67 | 12120.68 | 418.59 | 75.08 | 0.87 | 138.22 | 124.2592 | 3517 | 4392 | 73.61 | 122.2 | 1.09 | 0.92 | 0.96 | 1381945.9695 | 0.0013198
68 | 11025.56 | 390.06 | 168.66 | 0.91 | 123.3 | 118.5129 | 8103 | 4435 | 155.06 | 117 | 1.03 | 0.97 | 0.97 | 980996.883 | 0.00093685
69 | 9605.96 | 362.8 | 82.63 | 0.92 | 114.31 | 110.6205 | 3371 | 4511 | 72.8 | 109.2 | 1.01 | 0.99 | 0.97 | 781683.7288 | 0.00074651
70 | 10741.64 | 387.91 | 0.94 | 0.9 | 121.87 | 116.977 | 8110 | 4484 | 168.93 | 117 | 1.03 | 0.97 | 0.96 | 947259.1981 | 0.00090463
71 | 9842.56 | 371.68 | 146.43 | 0.9 | 118.58 | 111.9745 | 8016 | 4535 | 37.87 | 111.8 | 1.01 | 0.99 | 0.96 | 872595.0313 | 0.00083333
72 | 10146.76 | 375.36 | 145.13 | 0.91 | 119.09 | 113.6917 | 8005 | 4544 | 126.12 | 113.2 | 1.03 | 0.97 | 0.96 | 883902.3397 | 0.00084413
73 | 10478 | 379.03 | 1.87 | 0.92 | 121.09 | 115.5326 | 4541 | 4808 | 165.07 | 111.8 | 1.06 | 0.94 | 0.97 | 929187.2358 | 0.00088737
74 | 10910.64 | 386.39 | 88.1 | 0.92 | 122.89 | 117.8936 | 5265 | 4853 | 83.93 | 114.4 | 1.05 | 0.96 | 0.97 | 971243.2876 | 0.00092754
75 | 10816 | 383.6 | 172.78 | 0.92 | 121.78 | 117.3812 | 6956 | 4824 | 163.89 | 114.4 | 1.03 | 0.97 | 0.97 | 945162.118 | 0.00090263
76 | 11816.48 | 413.91 | 65.46 | 0.87 | 139.65 | 122.69 | 5299 | 4859 | 61.05 | 117 | 1.12 | 0.9 | 0.96 | 1425283.3697 | 0.0013611
77 | 10829.52 | 382.71 | 149.03 | 0.93 | 121.2 | 117.4545 | 1600 | 5188 | 144.61 | 117 | 1.01 | 0.99 | 0.97 | 931721.8003 | 0.00088979
78 | 2210.52 | 179.06 | 5 | 0.87 | 64.22 | 53.0655 | 1676 | 5608 | 31.76 | 44.2 | 1.31 | 0.76 | 0.96 | 138608.3205 | 0.00013237
79 | 9484.28 | 361.28 | 147.2 | 0.91 | 113.96 | 109.9176 | 4327 | 5601 | 145.22 | 109.2 | 1.02 | 0.98 | 0.97 | 774525.4975 | 0.00073967
80 | 11999 | 404.4 | 108.73 | 0.92 | 132.01 | 123.6339 | 1674 | 5611 | 122.12 | 119.6 | 1.01 | 0.99 | 0.97 | 1203923.4975 | 0.0011497
81 | 9687.08 | 362.8 | 159.68 | 0.92 | 115.17 | 111.0866 | 3383 | 5723 | 151.7 | 109.2 | 1.02 | 0.98 | 0.97 | 799459.5563 | 0.00076348
82 | 10876.84 | 390.69 | 28.66 | 0.9 | 121.2 | 117.7109 | 1835 | 5951 | 35.39 | 117 | 1 | 1 | 0.97 | 931721.8003 | 0.00088979
83 | 11248.64 | 401.73 | 113.24 | 0.88 | 129.3 | 119.7058 | 2117 | 6149 | 74.85 | 117.44 | 1.03 | 0.97 | 0.96 | 1131290.0628 | 0.0010804
84 | 4130.36 | 246.77 | 5.6 | 0.85 | 88.29 | 72.5369 | 2122 | 6153 | 166.37 | 64.6 | 1.43 | 0.7 | 0.95 | 360174.4886 | 0.00034397
85 | 11160.76 | 392.22 | 39.14 | 0.91 | 124.18 | 119.2373 | 4062 | 6340 | 70.43 | 119.5 | 1.03 | 0.97 | 0.97 | 1002151.4616 | 0.00095705

## Subsample (SS) #2
| Subsample (SS) #2 |  |  | Subsampled volume = 0.5 mL
Index | Area (µm²) | Angle | Perim. | Circ. | Feret diameter (µm) | Area-equivalent diameter (µm) | FeretX | FeretY | FeretAngle | MinFeret | AR | Round | Solidity | Volume (µm³) | Mass (mg) | Row Labels | Count of MinFeret | Sum of Mass (mg) | Micrograph (2.6 µm/pixel)
1 | 9078.68 | 353.92 | 120.13 | 0.91 | 113.36 | 107.5416 | 5324 | 952 | 143.39 | 106.6 | 1.03 | 0.97 | 0.96 | 762356.1522 | 0.00072805 | 90-95 | 1 | 0.00045276
2 | 10167.04 | 373.2 | 94.48 | 0.92 | 118.69 | 113.8053 | 5374 | 949 | 118.81 | 111.8 | 1.03 | 0.97 | 0.97 | 875025.6567 | 0.00083565 | 95-100 | 1 | 0.00081533
3 | 9788.48 | 365.85 | 106.24 | 0.92 | 117 | 111.6665 | 4883 | 967 | 126.87 | 109.2 | 1.04 | 0.96 | 0.97 | 838177.47 | 0.00080046 | 100-105 | 5 | 0.0045162
4 | 10525.32 | 387.02 | 118.26 | 0.88 | 120.22 | 115.7931 | 4843 | 973 | 111.57 | 114.98 | 1.03 | 0.98 | 0.96 | 909302.8841 | 0.00086838 | 105-110 | 33 | 0.026036
5 | 11999 | 404.14 | 113.37 | 0.92 | 127.64 | 123.6339 | 5141 | 994 | 123.37 | 122.2 | 1.01 | 0.99 | 0.97 | 1088275.3299 | 0.0010393 | 110-115 | 31 | 0.026978
6 | 9382.88 | 360.02 | 0.82 | 0.91 | 117 | 109.3285 | 5215 | 1009 | 143.13 | 106.43 | 1.06 | 0.94 | 0.97 | 838177.47 | 0.00080046 | 115-120 | 21 | 0.019902
7 | 9768.2 | 364.32 | 5.05 | 0.92 | 116.42 | 111.5507 | 5257 | 1016 | 150.57 | 109.2 | 1.03 | 0.97 | 0.97 | 825773.9578 | 0.00078861 | 120-125 | 6 | 0.0063827
8 | 10038.6 | 371.68 | 167.49 | 0.91 | 118.18 | 113.0842 | 4041 | 1195 | 140.36 | 111.8 | 1.03 | 0.97 | 0.96 | 863794.3412 | 0.00082492 | Grand Total | 98 | 0.085084
9 | 10450.96 | 376.88 | 43.75 | 0.92 | 119.06 | 115.3834 | 7202 | 1279 | 31.61 | 114.4 | 1.01 | 0.99 | 0.97 | 883234.5156 | 0.00084349
10 | 9977.76 | 370.16 | 29.92 | 0.92 | 117 | 112.741 | 3561 | 1430 | 36.87 | 111.8 | 1.02 | 0.98 | 0.97 | 838177.47 | 0.00080046
11 | 9403.16 | 357.6 | 106.46 | 0.92 | 113 | 109.4466 | 6225 | 1531 | 113.03 | 109.2 | 1.01 | 0.99 | 0.97 | 755116.0967 | 0.00072114
12 | 10180.56 | 376.25 | 109.56 | 0.9 | 120.44 | 113.8809 | 6184 | 1558 | 122.66 | 110.27 | 1.07 | 0.93 | 0.97 | 914304.0388 | 0.00087316
13 | 9430.2 | 359.12 | 111.6 | 0.92 | 114.67 | 109.6038 | 3341 | 1581 | 147.03 | 109.2 | 1.02 | 0.98 | 0.97 | 789092.3539 | 0.00075358
14 | 9518.08 | 362.8 | 108.78 | 0.91 | 114.52 | 110.1133 | 6145 | 1615 | 50.53 | 109.2 | 1.01 | 0.99 | 0.97 | 785999.7642 | 0.00075063
15 | 9903.4 | 371.68 | 89.39 | 0.9 | 121.2 | 112.3201 | 3394 | 1578 | 112.71 | 109.2 | 1.05 | 0.95 | 0.96 | 931721.8003 | 0.00088979
16 | 9984.52 | 373.2 | 64.41 | 0.9 | 117.89 | 112.7791 | 3301 | 1624 | 41.42 | 111.8 | 1.01 | 0.99 | 0.97 | 857450.9795 | 0.00081887
17 | 10031.84 | 369.52 | 42.06 | 0.92 | 117.72 | 113.0461 | 4813 | 1665 | 43.21 | 111.8 | 1.02 | 0.98 | 0.97 | 853746.9358 | 0.00081533
18 | 9633 | 362.8 | 156.73 | 0.92 | 115.49 | 110.7761 | 8019 | 1688 | 148.82 | 109.2 | 1.03 | 0.97 | 0.97 | 806141.9875 | 0.00076987
19 | 10985 | 391.59 | 176.98 | 0.9 | 124.5 | 118.2947 | 7915 | 1778 | 28.71 | 117 | 1.04 | 0.96 | 0.97 | 1009918.7887 | 0.00096447
20 | 9599.2 | 367.11 | 83.13 | 0.9 | 116.07 | 110.5816 | 3076 | 1756 | 105.59 | 111.62 | 1.02 | 0.98 | 0.96 | 818348.6136 | 0.00078152
21 | 11120.2 | 398.94 | 167.71 | 0.88 | 124.28 | 119.0204 | 7896 | 1821 | 37.35 | 117.44 | 1.03 | 0.97 | 0.96 | 1004574.4573 | 0.00095937
22 | 5651.36 | 295.09 | 3.21 | 0.82 | 110.71 | 84.848 | 3028 | 1833 | 9.46 | 65 | 1.65 | 0.61 | 0.96 | 710131.782 | 0.00067818
23 | 11079.64 | 389.43 | 50.78 | 0.92 | 124.28 | 118.8032 | 7872 | 1862 | 37.35 | 117 | 1.02 | 0.98 | 0.97 | 1004574.4573 | 0.00095937
24 | 9808.76 | 369.26 | 161.16 | 0.9 | 122.97 | 111.7821 | 4694 | 1846 | 166.55 | 108.47 | 1.11 | 0.9 | 0.96 | 973141.3279 | 0.00092935
25 | 8848.84 | 355.08 | 155.58 | 0.88 | 117 | 106.1716 | 3030 | 1840 | 126.87 | 101.03 | 1.08 | 0.93 | 0.97 | 838177.47 | 0.00080046
26 | 10410.4 | 379.03 | 107.95 | 0.91 | 119.71 | 115.1593 | 2998 | 1863 | 124.38 | 114.4 | 1.02 | 0.98 | 0.96 | 897779.5117 | 0.00085738
27 | 8706.88 | 342.89 | 121.16 | 0.93 | 109.23 | 105.3165 | 8026 | 1934 | 128.23 | 104 | 1.01 | 0.99 | 0.97 | 682031.1316 | 0.00065134
28 | 10058.88 | 370.16 | 21.16 | 0.92 | 117.46 | 113.1983 | 8033 | 2019 | 27.7 | 111.8 | 1.02 | 0.98 | 0.97 | 848102.5855 | 0.00080994
29 | 11086.4 | 389.43 | 138.44 | 0.92 | 123.85 | 118.8394 | 2718 | 2041 | 129.04 | 117 | 1.03 | 0.97 | 0.97 | 994183.2239 | 0.00094944
30 | 9335.56 | 357.6 | 52.79 | 0.92 | 112.52 | 109.0524 | 4842 | 2079 | 40.31 | 109.2 | 1 | 1 | 0.97 | 745534.1957 | 0.00071199
31 | 10390.12 | 375.36 | 0.08 | 0.93 | 119.09 | 115.047 | 2695 | 2115 | 36.12 | 114.4 | 1.01 | 0.99 | 0.97 | 883902.3397 | 0.00084413
32 | 9355.84 | 356.08 | 100.7 | 0.93 | 112.49 | 109.1708 | 4375 | 2204 | 146.31 | 109.2 | 1.01 | 0.99 | 0.97 | 744938.0333 | 0.00071142
33 | 6462.56 | 305.86 | 16.44 | 0.87 | 108.24 | 90.7335 | 2331 | 2418 | 24.1 | 83.2 | 1.3 | 0.77 | 0.95 | 663654.0491 | 0.00063379
34 | 9051.64 | 352.4 | 136.07 | 0.92 | 114.16 | 107.3813 | 2326 | 2428 | 120.07 | 106.6 | 1.02 | 0.98 | 0.97 | 778610.5392 | 0.00074357
35 | 11451.44 | 397.42 | 27.91 | 0.91 | 127.51 | 120.7801 | 7029 | 2476 | 20.28 | 119.08 | 1.05 | 0.95 | 0.97 | 1084953.5244 | 0.0010361
36 | 10795.72 | 391.59 | 47.9 | 0.88 | 142.15 | 117.2711 | 2359 | 2493 | 50.19 | 101.12 | 1.38 | 0.72 | 0.97 | 1503207.6932 | 0.0014356
37 | 10031.84 | 370.79 | 72.96 | 0.92 | 117.92 | 113.0461 | 7084 | 2472 | 104.04 | 112.15 | 1.02 | 0.98 | 0.97 | 858105.7443 | 0.00081949
38 | 12120.68 | 412.39 | 157.24 | 0.9 | 139.19 | 124.2592 | 3096 | 2510 | 147.2 | 114.28 | 1.21 | 0.83 | 0.97 | 1411245.2793 | 0.0013477
39 | 9382.88 | 357.6 | 167.23 | 0.92 | 114.43 | 109.3285 | 2113 | 2832 | 158.68 | 106.6 | 1.03 | 0.97 | 0.97 | 784148.0946 | 0.00074886
40 | 9687.08 | 363.43 | 96.84 | 0.92 | 116.07 | 111.0866 | 2097 | 2892 | 74.41 | 110.31 | 1.02 | 0.98 | 0.97 | 818348.6136 | 0.00078152
41 | 10227.88 | 375.99 | 68.64 | 0.91 | 120.22 | 114.1453 | 4447 | 3027 | 68.43 | 112.15 | 1.06 | 0.95 | 0.97 | 909302.8841 | 0.00086838
42 | 8781.24 | 353.03 | 60.61 | 0.89 | 112.79 | 105.7653 | 2667 | 3096 | 25.97 | 105.24 | 1.03 | 0.97 | 0.96 | 750913.9763 | 0.00071712
43 | 9903.4 | 366.48 | 168.25 | 0.93 | 115.96 | 112.3201 | 5232 | 3115 | 19.65 | 111.8 | 1.01 | 0.99 | 0.97 | 816024.1612 | 0.0007793
44 | 9531.6 | 361.91 | 136.52 | 0.91 | 114.16 | 110.1915 | 8259 | 3291 | 149.93 | 110.31 | 1.01 | 0.99 | 0.96 | 778610.5392 | 0.00074357
45 | 9470.76 | 363.43 | 55.4 | 0.9 | 119.09 | 109.8393 | 2415 | 3348 | 53.88 | 105.17 | 1.14 | 0.88 | 0.96 | 883902.3397 | 0.00084413 |  |  |  | Overlay
46 | 9835.8 | 368.63 | 144.3 | 0.91 | 116.42 | 111.9361 | 5000 | 3366 | 150.57 | 111.8 | 1.02 | 0.98 | 0.97 | 825773.9578 | 0.00078861
47 | 8902.92 | 347.2 | 113.32 | 0.93 | 110.46 | 106.4955 | 8264 | 3494 | 116.57 | 106.6 | 1.01 | 0.99 | 0.97 | 705331.8809 | 0.00067359
48 | 9436.96 | 357.6 | 16.13 | 0.93 | 114.67 | 109.6431 | 5537 | 3664 | 32.97 | 106.6 | 1.03 | 0.97 | 0.97 | 789092.3539 | 0.00075358
49 | 10363.08 | 385.49 | 57.97 | 0.88 | 120.19 | 114.8972 | 2281 | 3800 | 51.15 | 115.11 | 1.04 | 0.97 | 0.96 | 908622.3248 | 0.00086773
50 | 10795.72 | 389.06 | 99.6 | 0.9 | 126.36 | 117.2711 | 7220 | 3814 | 143.37 | 111.26 | 1.06 | 0.94 | 0.97 | 1055862.2171 | 0.0010083
51 | 5022.68 | 275.19 | 98.07 | 0.83 | 92.22 | 79.9895 | 7204 | 3849 | 68.5 | 71.47 | 1.24 | 0.81 | 0.95 | 410443.8487 | 0.00039197
52 | 10606.44 | 391.96 | 84.57 | 0.87 | 139.36 | 116.2385 | 4816 | 3988 | 81.42 | 109.2 | 1.21 | 0.82 | 0.95 | 1416422.4796 | 0.0013527
53 | 6793.8 | 303.71 | 108.63 | 0.93 | 96.76 | 93.0297 | 8403 | 4141 | 120.7 | 91 | 1.02 | 0.98 | 0.97 | 474095.6568 | 0.00045276
54 | 11350.04 | 397.42 | 19.48 | 0.9 | 124.83 | 120.2441 | 6431 | 4282 | 35.68 | 119.6 | 1.03 | 0.97 | 0.97 | 1017970.7732 | 0.00097216
55 | 11458.2 | 396.79 | 172.94 | 0.91 | 124.85 | 120.8157 | 6015 | 4387 | 148.63 | 119.6 | 1.03 | 0.97 | 0.97 | 1018460.143 | 0.00097263
56 | 10816 | 394.63 | 111.79 | 0.87 | 134.92 | 117.3812 | 6282 | 4456 | 115.08 | 111.8 | 1.14 | 0.87 | 0.96 | 1285308.5462 | 0.0012275
57 | 10694.32 | 382.71 | 50.97 | 0.92 | 121.2 | 116.7191 | 6631 | 4553 | 35.39 | 117 | 1.02 | 0.98 | 0.97 | 931721.8003 | 0.00088979
58 | 8666.32 | 360.39 | 60.3 | 0.84 | 117.72 | 105.0709 | 8157 | 4691 | 43.21 | 96.25 | 1.26 | 0.79 | 0.93 | 853746.9358 | 0.00081533
59 | 9267.96 | 359.76 | 7.06 | 0.9 | 113.57 | 108.6569 | 2049 | 4673 | 164.05 | 106.6 | 1.05 | 0.95 | 0.96 | 766600.8122 | 0.0007321
60 | 10694.32 | 382.71 | 89.98 | 0.92 | 120.98 | 116.7191 | 4584 | 4696 | 118.22 | 114.4 | 1.02 | 0.98 | 0.97 | 926657.2719 | 0.00088496
61 | 12282.92 | 413.02 | 50.77 | 0.9 | 130 | 125.0881 | 2077 | 4741 | 53.13 | 124.8 | 1.02 | 0.98 | 0.97 | 1149763.3333 | 0.001098
62 | 10025.08 | 375.36 | 175.1 | 0.89 | 117.89 | 113.008 | 5852 | 4831 | 48.58 | 111.8 | 1.02 | 0.98 | 0.97 | 857450.9795 | 0.00081887
63 | 8950.24 | 348.72 | 156.53 | 0.92 | 111.83 | 106.7782 | 2138 | 4832 | 144.46 | 106.57 | 1.03 | 0.97 | 0.97 | 731902.7389 | 0.00069897
64 | 9342.32 | 361.28 | 122.27 | 0.9 | 114.67 | 109.0919 | 4138 | 4983 | 122.97 | 109.2 | 1.01 | 0.99 | 0.96 | 789092.3539 | 0.00075358
65 | 10937.68 | 388.54 | 70.59 | 0.91 | 121.87 | 118.0396 | 3929 | 5101 | 123.69 | 118.04 | 1.01 | 0.99 | 0.97 | 947259.1981 | 0.00090463
66 | 11532.56 | 396.79 | 126.92 | 0.92 | 127.64 | 121.2071 | 2190 | 5299 | 123.37 | 119.6 | 1.03 | 0.97 | 0.97 | 1088275.3299 | 0.0010393
67 | 11782.68 | 401.99 | 136.13 | 0.92 | 126.79 | 122.5144 | 4299 | 5310 | 118.14 | 122.2 | 1.02 | 0.98 | 0.97 | 1066678.1603 | 0.0010187
68 | 11505.52 | 400.46 | 168.61 | 0.9 | 127.48 | 121.0649 | 3762 | 5456 | 168.23 | 116.3 | 1.08 | 0.93 | 0.97 | 1084187.9151 | 0.0010354
69 | 9599.2 | 362.8 | 5.63 | 0.92 | 115.49 | 110.5816 | 3748 | 5513 | 31.18 | 109.2 | 1.03 | 0.97 | 0.97 | 806141.9875 | 0.00076987
70 | 11018.8 | 387.91 | 26.04 | 0.92 | 124.04 | 118.4765 | 1832 | 5620 | 33.02 | 117 | 1.03 | 0.97 | 0.97 | 998765.8177 | 0.00095382
71 | 1872.52 | 164.09 | 20.15 | 0.87 | 59.86 | 48.8403 | 4840 | 5640 | 34.38 | 44.2 | 1.23 | 0.81 | 0.94 | 112250.5649 | 0.0001072
72 | 11012.04 | 390.06 | 2.26 | 0.91 | 125.07 | 118.4402 | 7925 | 5651 | 159.3 | 114.4 | 1.07 | 0.93 | 0.97 | 1023853.566 | 0.00097778
73 | 11911.12 | 405.66 | 104.47 | 0.91 | 131.47 | 123.1804 | 4838 | 5643 | 114.54 | 122.07 | 1.05 | 0.95 | 0.97 | 1189209.5454 | 0.0011357
74 | 10025.08 | 370.16 | 19.98 | 0.92 | 117.58 | 113.008 | 5585 | 5718 | 35.1 | 111.8 | 1.03 | 0.97 | 0.97 | 850704.5688 | 0.00081242
75 | 11694.8 | 400.46 | 0.02 | 0.92 | 125.77 | 122.0567 | 5503 | 5786 | 150.26 | 122.2 | 1.01 | 0.99 | 0.97 | 1041141.0747 | 0.00099429
76 | 682.76 | 93.71 | 119.5 | 0.98 | 32.58 | 29.4917 | 2716 | 5810 | 151.39 | 28.6 | 1.06 | 0.94 | 0.93 | 18098.0439 | 1.7284e-05
77 | 10417.16 | 379.03 | 175.28 | 0.91 | 118.58 | 115.1966 | 4211 | 6061 | 15.26 | 114.4 | 1.01 | 0.99 | 0.97 | 872595.0313 | 0.00083333
78 | 9957.48 | 381.19 | 157.75 | 0.86 | 122.39 | 112.6263 | 2041 | 6106 | 167.74 | 105.17 | 1.17 | 0.85 | 0.94 | 959436.4241 | 0.00091626
79 | 11066.12 | 387.91 | 62.77 | 0.92 | 122.72 | 118.7307 | 7699 | 6226 | 36.38 | 117 | 1.02 | 0.98 | 0.97 | 967218.1499 | 0.00092369
80 | 9146.28 | 353.92 | 32.86 | 0.92 | 113.96 | 107.9412 | 7947 | 6232 | 34.78 | 106.6 | 1.05 | 0.95 | 0.97 | 774525.4975 | 0.00073967
81 | 10606.44 | 381.19 | 154.53 | 0.92 | 120.44 | 116.2385 | 7636 | 6386 | 122.66 | 117 | 1.02 | 0.98 | 0.97 | 914304.0388 | 0.00087316
82 | 9436.96 | 362.54 | 13.11 | 0.9 | 119.85 | 109.6431 | 7406 | 6522 | 12.53 | 108.47 | 1.05 | 0.95 | 0.96 | 900933.0372 | 0.00086039
83 | 8794.76 | 353.03 | 174.49 | 0.89 | 112.55 | 105.8467 | 2169 | 6611 | 6.63 | 104 | 1.04 | 0.96 | 0.96 | 746130.676 | 0.00071255
84 | 12458.68 | 413.02 | 93.62 | 0.92 | 129.95 | 125.9799 | 4097 | 6598 | 109.89 | 124.8 | 1.02 | 0.98 | 0.97 | 1148437.1935 | 0.0010968
85 | 10694.32 | 382.71 | 109.3 | 0.92 | 121.87 | 116.7191 | 2138 | 6612 | 123.69 | 116.94 | 1.03 | 0.97 | 0.97 | 947259.1981 | 0.00090463
86 | 9457.24 | 359.76 | 17.96 | 0.92 | 114.43 | 109.7608 | 2171 | 6659 | 21.32 | 109.2 | 1.03 | 0.97 | 0.97 | 784148.0946 | 0.00074886
87 | 9957.48 | 372.57 | 124.19 | 0.9 | 124.85 | 112.6263 | 8034 | 6675 | 121.37 | 109.2 | 1.08 | 0.92 | 0.97 | 1018460.143 | 0.00097263
88 | 11410.88 | 396.79 | 161.15 | 0.91 | 124.85 | 120.566 | 2281 | 6703 | 148.63 | 119.6 | 1.03 | 0.98 | 0.97 | 1018460.143 | 0.00097263
89 | 10653.76 | 382.71 | 127.23 | 0.91 | 120.64 | 116.4975 | 6087 | 6928 | 142.88 | 115.77 | 1.02 | 0.98 | 0.97 | 918866.4258 | 0.00087752
90 | 10788.96 | 386.39 | 6.17 | 0.91 | 121.4 | 117.2344 | 6043 | 6969 | 9.87 | 117 | 1.02 | 0.98 | 0.97 | 936341.9 | 0.00089421
91 | 11775.92 | 401.99 | 166.8 | 0.92 | 126.36 | 122.4793 | 2783 | 7024 | 53.37 | 119.6 | 1.02 | 0.98 | 0.97 | 1055862.2171 | 0.0010083
92 | 10450.96 | 376.88 | 155.34 | 0.92 | 119.97 | 115.3834 | 3015 | 7146 | 150.1 | 114.4 | 1.02 | 0.98 | 0.97 | 903641.9295 | 0.00086298
93 | 9166.56 | 352.4 | 147.3 | 0.93 | 112.79 | 108.0608 | 3371 | 7244 | 115.97 | 106.6 | 1.03 | 0.97 | 0.97 | 750913.9763 | 0.00071712
94 | 10910.64 | 387.91 | 62.8 | 0.91 | 123.6 | 117.8936 | 3463 | 7337 | 67.75 | 116.1 | 1.06 | 0.95 | 0.97 | 988174.8806 | 0.00094371
95 | 9315.28 | 358.23 | 23.18 | 0.91 | 114.22 | 108.9339 | 3485 | 7336 | 168.18 | 108.68 | 1.02 | 0.98 | 0.96 | 779838.8466 | 0.00074475
96 | 10532.08 | 378.4 | 156.3 | 0.92 | 119.77 | 115.8303 | 3621 | 7391 | 27.12 | 114.4 | 1.01 | 0.99 | 0.97 | 899130.12 | 0.00085867
97 | 10052.12 | 371.05 | 177.78 | 0.92 | 122.39 | 113.1603 | 4349 | 7401 | 167.74 | 104 | 1.15 | 0.87 | 0.97 | 959436.4241 | 0.00091626
98 | 10714.6 | 385.76 | 19.33 | 0.9 | 121.84 | 116.8297 | 4613 | 7432 | 50.19 | 114.4 | 1.02 | 0.98 | 0.97 | 946559.8271 | 0.00090396
99 | 10396.88 | 379.92 | 68.21 | 0.91 | 120.64 | 115.0845 | 4164 | 7405 | 142.88 | 114.4 | 1.01 | 0.99 | 0.96 | 918866.4258 | 0.00087752
100 | 9213.88 | 353.29 | 64.16 | 0.93 | 114.43 | 108.3394 | 4205 | 7435 | 21.32 | 105.29 | 1.02 | 0.98 | 0.97 | 784148.0946 | 0.00074886
101 | 9261.2 | 359.76 | 90.03 | 0.9 | 115.46 | 108.6173 | 4264 | 7451 | 82.23 | 106.6 | 1.05 | 0.95 | 0.96 | 805513.9337 | 0.00076927
102 | 8673.08 | 348.72 | 99.22 | 0.9 | 110.55 | 105.1119 | 4571 | 7445 | 41.19 | 105.94 | 1 | 1 | 0.96 | 707057.3455 | 0.00067524
103 | 10045.36 | 373.83 | 102.13 | 0.9 | 117.46 | 113.1222 | 4535 | 7420 | 117.7 | 112.69 | 1.02 | 0.98 | 0.96 | 848102.5855 | 0.00080994

## Subsample (SS) #3
| Subsample (SS) #3 |  |  | Subsampled volume = 0.5 mL
Index | Area (µm²) | Angle | Circ. | Perim. | Feret diameter (µm) | Area-equivalent diameter (µm) | FeretX | FeretY | FeretAngle | MinFeret | AR | Round | Solidity | Volume (µm³) | Mass (mg) | Row Labels | Count of MinFeret | Sum of Mass (mg) | Micrograph (2.6 µm/pixel)
1 | 10288.72 | 375.36 | 18.39 | 0.92 | 117.89 | 114.4843 | 4567 | 176 | 131.42 | 114.4 | 1 | 1 | 0.97 | 857885.8911 | 0.00081928 | 100-105 | 1 | 0.00066048
2 | 9977.76 | 370.79 | 82.53 | 0.91 | 116.77 | 112.741 | 2694 | 499 | 78.44 | 113.51 | 1.02 | 0.98 | 0.96 | 833666.7164 | 0.00079615 | 105-110 | 19 | 0.0142
3 | 10761.92 | 386.39 | 129.63 | 0.91 | 122.64 | 117.0874 | 6728 | 517 | 122.01 | 116.28 | 1.04 | 0.96 | 0.97 | 965817.4501 | 0.00092236 | 110-115 | 39 | 0.033209
4 | 10964.72 | 391.59 | 171.89 | 0.9 | 122.64 | 118.1854 | 6443 | 664 | 158.88 | 117.29 | 1.03 | 0.97 | 0.96 | 965817.4501 | 0.00092236 | 115-120 | 20 | 0.019003
5 | 10160.28 | 375.36 | 161.78 | 0.91 | 117.89 | 113.7674 | 6441 | 698 | 131.42 | 113.51 | 1.02 | 0.98 | 0.97 | 857885.8911 | 0.00081928 | 120-125 | 8 | 0.0095664
6 | 10471.24 | 380.56 | 83.01 | 0.91 | 122.97 | 115.4953 | 4530 | 784 | 76.55 | 111.8 | 1.09 | 0.92 | 0.97 | 973634.9193 | 0.00092982 | 125-130 | 3 | 0.0046936
7 | 9572.16 | 359.76 | 66.43 | 0.93 | 114.16 | 110.4257 | 2830 | 851 | 59.93 | 109.2 | 1.02 | 0.98 | 0.97 | 779005.4618 | 0.00074395 | Grand Total | 90 | 0.081332
8 | 9653.28 | 366.48 | 166.57 | 0.9 | 115.46 | 110.8926 | 5476 | 847 | 144.16 | 109.2 | 1.01 | 0.99 | 0.96 | 805922.502 | 0.00076966
9 | 9950.72 | 370.16 | 30.14 | 0.91 | 117 | 112.5881 | 7070 | 891 | 53.13 | 111.8 | 1.02 | 0.98 | 0.97 | 838602.6058 | 0.00080087
10 | 10160.28 | 371.68 | 60.49 | 0.92 | 117.72 | 113.7674 | 7077 | 898 | 120.53 | 111.8 | 1.01 | 0.99 | 0.97 | 854179.9687 | 0.00081574
11 | 9119.24 | 353.92 | 44.57 | 0.91 | 111.68 | 107.7816 | 6517 | 985 | 24.78 | 106.6 | 1.01 | 0.99 | 0.96 | 729331.2765 | 0.00069651
12 | 8598.72 | 343.52 | 58.76 | 0.92 | 109.72 | 104.6603 | 6559 | 1019 | 53.67 | 103.84 | 1.04 | 0.96 | 0.96 | 691601.6474 | 0.00066048
13 | 10728.12 | 383.34 | 62.6 | 0.92 | 122.23 | 116.9034 | 3202 | 1169 | 66.16 | 115.62 | 1.04 | 0.96 | 0.97 | 956163.2719 | 0.00091314
14 | 11789.44 | 401.99 | 97.56 | 0.92 | 126.63 | 122.5496 | 6653 | 1149 | 109.18 | 119.6 | 1.02 | 0.98 | 0.97 | 1063184.0262 | 0.0010153
15 | 2440.36 | 181.59 | 47.56 | 0.93 | 60.92 | 55.7561 | 3229 | 1174 | 39.81 | 53.08 | 1.14 | 0.88 | 0.94 | 118379.992 | 0.00011305
16 | 11106.68 | 390.06 | 153.58 | 0.92 | 122.72 | 118.948 | 7267 | 1224 | 143.62 | 118.98 | 1.02 | 0.98 | 0.97 | 967708.737 | 0.00092416
17 | 10964.72 | 390.06 | 96.43 | 0.91 | 121.84 | 118.1854 | 6834 | 1221 | 129.81 | 119.18 | 1.01 | 0.99 | 0.97 | 947039.936 | 0.00090442
18 | 11397.36 | 395.26 | 65.12 | 0.92 | 128.27 | 120.4945 | 3660 | 1368 | 72.3 | 116.28 | 1.1 | 0.91 | 0.97 | 1105029.5875 | 0.0010553
19 | 12661.48 | 424.68 | 54.94 | 0.88 | 131.24 | 127.0011 | 2995 | 1449 | 56.31 | 127.4 | 1.02 | 0.98 | 0.97 | 1183579.0995 | 0.0011303
20 | 10092.68 | 373.83 | 142.15 | 0.91 | 117 | 113.3883 | 6513 | 1651 | 126.87 | 111.8 | 1.01 | 0.99 | 0.97 | 838602.6058 | 0.00080087
21 | 9538.36 | 361.28 | 14.53 | 0.92 | 114.67 | 110.2306 | 7620 | 1680 | 32.97 | 109.2 | 1.03 | 0.97 | 0.97 | 789492.593 | 0.00075397
22 | 10478 | 377.51 | 147.22 | 0.92 | 120.44 | 115.5326 | 6461 | 1684 | 147.34 | 114.4 | 1.02 | 0.98 | 0.97 | 914767.7871 | 0.0008736
23 | 10701.08 | 386.39 | 157.29 | 0.9 | 121.2 | 116.7559 | 3598 | 1699 | 144.61 | 116.75 | 1.02 | 0.98 | 0.97 | 932194.3831 | 0.00089025
24 | 10329.28 | 380.56 | 167.34 | 0.9 | 121.2 | 114.7097 | 3579 | 1746 | 157.29 | 111.62 | 1.06 | 0.94 | 0.96 | 932194.3831 | 0.00089025
25 | 10410.4 | 383.34 | 150.07 | 0.89 | 120.19 | 115.1593 | 3560 | 1778 | 141.15 | 112.79 | 1.04 | 0.97 | 0.97 | 909083.1913 | 0.00086817
26 | 10194.08 | 373.83 | 132.77 | 0.92 | 118.26 | 113.9565 | 7399 | 1781 | 123.34 | 113.99 | 1.03 | 0.97 | 0.97 | 865988.7423 | 0.00082702
27 | 10674.04 | 384.23 | 165.31 | 0.91 | 121.28 | 116.6083 | 3535 | 1820 | 149.04 | 114.4 | 1.04 | 0.97 | 0.97 | 934041.5313 | 0.00089201
28 | 10031.84 | 370.16 | 102.26 | 0.92 | 116.54 | 113.0461 | 2943 | 1823 | 128.66 | 111.8 | 1.01 | 0.99 | 0.97 | 828750.2331 | 0.00079146
29 | 9146.28 | 352.4 | 95.69 | 0.93 | 111.28 | 107.9412 | 3297 | 1927 | 127.41 | 106.6 | 1.01 | 0.99 | 0.97 | 721522.6571 | 0.00068905
30 | 10586.16 | 382.71 | 164.39 | 0.91 | 120.05 | 116.1273 | 8014 | 2256 | 162.35 | 117 | 1.01 | 0.99 | 0.97 | 905910.1289 | 0.00086514
31 | 12749.36 | 418.22 | 166.27 | 0.92 | 131.81 | 127.4411 | 4242 | 2277 | 157.99 | 124.8 | 1.03 | 0.97 | 0.97 | 1199067.6948 | 0.0011451
32 | 10714.6 | 384.23 | 42.14 | 0.91 | 120.98 | 116.8297 | 8043 | 2640 | 28.22 | 117 | 1.01 | 0.99 | 0.97 | 927127.2859 | 0.00088541
33 | 9240.92 | 357.6 | 40.55 | 0.91 | 112.52 | 108.4983 | 4064 | 2622 | 139.69 | 109.2 | 1 | 1 | 0.96 | 745912.3414 | 0.00071235
34 | 10518.56 | 379.03 | 26.49 | 0.92 | 121.84 | 115.7559 | 2055 | 2821 | 39.81 | 113.99 | 1.05 | 0.95 | 0.97 | 947039.936 | 0.00090442
35 | 10423.92 | 379.03 | 171.95 | 0.91 | 118.81 | 115.234 | 3506 | 2901 | 156.8 | 114.4 | 1.01 | 0.99 | 0.97 | 878127.5646 | 0.00083861
36 | 12708.8 | 418.22 | 95.86 | 0.91 | 131.16 | 127.2382 | 6955 | 2912 | 140.63 | 127.4 | 1.02 | 0.98 | 0.97 | 1181415.9947 | 0.0011283
37 | 11282.44 | 396.79 | 170.31 | 0.9 | 125.88 | 119.8855 | 3560 | 3109 | 141.71 | 118.77 | 1.04 | 0.96 | 0.97 | 1044404.718 | 0.00099741
38 | 10363.08 | 380.56 | 29.5 | 0.9 | 122.72 | 114.8972 | 3577 | 3176 | 36.38 | 110.08 | 1.08 | 0.92 | 0.97 | 967708.737 | 0.00092416
39 | 10444.2 | 379.03 | 92.59 | 0.91 | 120.61 | 115.3461 | 8284 | 3168 | 97.43 | 111.8 | 1.05 | 0.95 | 0.97 | 918646.8172 | 0.00087731
40 | 9734.4 | 366.48 | 70.23 | 0.91 | 114.52 | 111.3576 | 7172 | 3174 | 129.47 | 111.8 | 1 | 1 | 0.97 | 786398.4347 | 0.00075101
41 | 10423.92 | 380.56 | 102.51 | 0.9 | 120.87 | 115.234 | 8198 | 3257 | 108.82 | 111.8 | 1.05 | 0.95 | 0.97 | 924600.6377 | 0.00088299
42 | 9605.96 | 361.28 | 57.97 | 0.92 | 114.93 | 110.6205 | 6927 | 3314 | 52.35 | 109.2 | 1.02 | 0.98 | 0.97 | 794875.0081 | 0.00075911
43 | 12553.32 | 413.02 | 159.09 | 0.92 | 130.42 | 126.4575 | 2580 | 3444 | 156.5 | 124.8 | 1.01 | 0.99 | 0.97 | 1161532.0826 | 0.0011093
44 | 9531.6 | 361.28 | 7.69 | 0.92 | 113.96 | 110.1915 | 2655 | 3510 | 124.78 | 109.2 | 1.02 | 0.98 | 0.97 | 774918.3481 | 0.00074005
45 | 9409.92 | 359.12 | 15.16 | 0.92 | 113.72 | 109.4859 | 2651 | 3574 | 10.54 | 106.6 | 1.04 | 0.96 | 0.97 | 770032.7127 | 0.00073538 |  |  |  | Overlay
46 | 10721.36 | 382.08 | 72.05 | 0.92 | 120.98 | 116.8665 | 7075 | 3843 | 61.78 | 114.4 | 1.01 | 0.99 | 0.97 | 927127.2859 | 0.00088541
47 | 9862.84 | 371.68 | 125.36 | 0.9 | 117 | 112.0898 | 5643 | 3927 | 126.87 | 111.8 | 1 | 1 | 0.96 | 838602.6058 | 0.00080087
48 | 11606.92 | 400.46 | 157.23 | 0.91 | 131.24 | 121.5972 | 7338 | 3990 | 146.31 | 114.43 | 1.14 | 0.88 | 0.97 | 1183579.0995 | 0.0011303
49 | 9605.96 | 362.8 | 154.91 | 0.92 | 116.19 | 110.6205 | 1783 | 4092 | 139.54 | 109.2 | 1.05 | 0.95 | 0.97 | 821305.7766 | 0.00078435
50 | 11255.4 | 391.59 | 136.85 | 0.92 | 123.85 | 119.7418 | 3125 | 4182 | 129.04 | 119.5 | 1.02 | 0.98 | 0.97 | 994687.488 | 0.00094993
51 | 11505.52 | 396.16 | 41.3 | 0.92 | 125.23 | 121.0649 | 8265 | 4302 | 41.63 | 119.6 | 1.01 | 0.99 | 0.97 | 1028309.3012 | 0.00098204
52 | 11755.64 | 401.99 | 43.6 | 0.91 | 129.4 | 122.3738 | 1768 | 4416 | 22.44 | 122.2 | 1.04 | 0.96 | 0.97 | 1134492.0354 | 0.0010834
53 | 11099.92 | 387.91 | 68.35 | 0.93 | 124.04 | 118.9118 | 3336 | 4503 | 56.98 | 117 | 1.04 | 0.96 | 0.97 | 999272.4062 | 0.00095431
54 | 12303.2 | 410.86 | 126.81 | 0.92 | 129.17 | 125.1913 | 7364 | 4556 | 130.1 | 124.8 | 1.02 | 0.98 | 0.97 | 1128453.3263 | 0.0010777
55 | 9889.88 | 368 | 124.43 | 0.92 | 117.89 | 112.2434 | 6652 | 4581 | 131.42 | 110.46 | 1.05 | 0.95 | 0.97 | 857885.8911 | 0.00081928
56 | 10552.36 | 380.56 | 175.32 | 0.92 | 119.97 | 115.9418 | 3301 | 4708 | 29.9 | 114.4 | 1.01 | 0.99 | 0.97 | 904100.2699 | 0.00086342
57 | 10525.32 | 376.88 | 176.91 | 0.93 | 120.44 | 115.7931 | 3368 | 4724 | 13.74 | 111.8 | 1.03 | 0.97 | 0.97 | 914767.7871 | 0.0008736
58 | 11363.56 | 393.11 | 37.99 | 0.92 | 125.02 | 120.3157 | 3384 | 4787 | 73.07 | 119.6 | 1.01 | 0.99 | 0.97 | 1023144.811 | 0.0009771
59 | 11897.6 | 406.29 | 111.85 | 0.91 | 127.64 | 123.1104 | 2055 | 4758 | 123.37 | 123.33 | 1.02 | 0.98 | 0.96 | 1088827.3189 | 0.0010398
60 | 9254.44 | 356.97 | 110.08 | 0.91 | 113 | 108.5776 | 8252 | 4769 | 156.97 | 106.6 | 1.02 | 0.98 | 0.97 | 755499.1025 | 0.0007215
61 | 1919.84 | 162.57 | 105.53 | 0.91 | 55.09 | 49.4536 | 8295 | 4759 | 109.29 | 46.66 | 1.17 | 0.85 | 0.94 | 87542.0958 | 8.3603e-05
62 | 9903.4 | 368 | 96.13 | 0.92 | 117 | 112.3201 | 8157 | 4892 | 53.13 | 111.62 | 1.03 | 0.97 | 0.97 | 838602.6058 | 0.00080087
63 | 9409.92 | 361.28 | 152.5 | 0.91 | 113.36 | 109.4859 | 8112 | 4880 | 143.39 | 109.2 | 1.02 | 0.98 | 0.96 | 762742.8303 | 0.00072842
64 | 13418.6 | 472.11 | 141.62 | 0.76 | 160.8 | 130.7431 | 5949 | 5186 | 129.09 | 120.86 | 1.45 | 0.69 | 0.92 | 2176991.6112 | 0.002079
65 | 9342.32 | 356.97 | 179.68 | 0.92 | 114.52 | 109.0919 | 7791 | 5261 | 50.53 | 106.6 | 1.03 | 0.97 | 0.97 | 786398.4347 | 0.00075101
66 | 11093.16 | 397.68 | 156.7 | 0.88 | 127.19 | 118.8756 | 7776 | 5272 | 139.14 | 117 | 1.03 | 0.97 | 0.96 | 1077351.757 | 0.0010289
67 | 10782.2 | 383.6 | 134.95 | 0.92 | 126.36 | 117.1976 | 4735 | 5313 | 143.37 | 114.4 | 1.06 | 0.94 | 0.97 | 1056397.7657 | 0.0010089
68 | 9943.96 | 368 | 11.62 | 0.92 | 117.81 | 112.5498 | 4141 | 5651 | 22.04 | 109.2 | 1.04 | 0.96 | 0.97 | 856140.5952 | 0.00081761
69 | 9822.28 | 367.11 | 46.83 | 0.92 | 118.26 | 111.8591 | 4368 | 5687 | 33.34 | 108.47 | 1.07 | 0.93 | 0.97 | 865988.7423 | 0.00082702
70 | 10167.04 | 373.83 | 0.17 | 0.91 | 117 | 113.8053 | 3591 | 5925 | 36.87 | 114.4 | 1 | 1 | 0.97 | 838602.6058 | 0.00080087
71 | 9984.52 | 371.05 | 145.31 | 0.91 | 120.19 | 112.7791 | 6905 | 5926 | 141.15 | 111.8 | 1.04 | 0.96 | 0.97 | 909083.1913 | 0.00086817
72 | 10552.36 | 380.56 | 129.94 | 0.92 | 120.19 | 115.9418 | 4262 | 6030 | 141.15 | 114.4 | 1.02 | 0.98 | 0.97 | 909083.1913 | 0.00086817
73 | 9923.68 | 366.48 | 109.19 | 0.93 | 116.8 | 112.435 | 6600 | 6367 | 73.18 | 111.8 | 1.01 | 0.99 | 0.97 | 834309.4267 | 0.00079677
74 | 11512.28 | 398.94 | 121.05 | 0.91 | 125.66 | 121.1005 | 6334 | 6545 | 114.44 | 121.34 | 1.02 | 0.98 | 0.97 | 1038938.3761 | 0.00099219
75 | 9457.24 | 362.8 | 27.27 | 0.9 | 114.93 | 109.7608 | 1656 | 6582 | 37.65 | 109.09 | 1.03 | 0.97 | 0.96 | 794875.0081 | 0.00075911
76 | 9599.2 | 364.96 | 121.79 | 0.91 | 116.1 | 110.5816 | 6372 | 6569 | 124.05 | 111.58 | 1.02 | 0.98 | 0.97 | 819398.7206 | 0.00078253
77 | 9207.12 | 357.6 | 46.11 | 0.9 | 113.36 | 108.2997 | 1667 | 6627 | 53.39 | 109.09 | 1.02 | 0.98 | 0.96 | 762742.8303 | 0.00072842
78 | 10011.56 | 368.63 | 4.16 | 0.93 | 116.86 | 112.9317 | 6206 | 6672 | 159.15 | 111.8 | 1.03 | 0.97 | 0.97 | 835595.8382 | 0.00079799
79 | 9491.04 | 361.28 | 7.34 | 0.91 | 116.07 | 109.9568 | 1751 | 6798 | 15.59 | 106.6 | 1.06 | 0.94 | 0.97 | 818763.6919 | 0.00078192
80 | 10058.88 | 373.2 | 26.22 | 0.91 | 119.63 | 113.1983 | 1736 | 6847 | 42.36 | 111.8 | 1.04 | 0.97 | 0.97 | 896435.2599 | 0.0008561
81 | 10849.8 | 386.39 | 3.48 | 0.91 | 122.23 | 117.5645 | 2448 | 7199 | 29.29 | 117 | 1.01 | 0.99 | 0.97 | 956163.2719 | 0.00091314
82 | 15318.16 | 477.31 | 23.42 | 0.84 | 169.5 | 139.691 | 5325 | 7202 | 20.66 | 127.4 | 1.35 | 0.74 | 0.96 | 2549809.471 | 0.0024351
83 | 10342.8 | 375.36 | 25.73 | 0.92 | 119.09 | 114.7848 | 5982 | 7224 | 36.12 | 114.4 | 1.02 | 0.98 | 0.97 | 884350.6678 | 0.00084455
84 | 10329.28 | 384.86 | 120.81 | 0.88 | 120.44 | 114.7097 | 2421 | 7237 | 32.66 | 114.92 | 1.03 | 0.97 | 0.96 | 914767.7871 | 0.0008736
85 | 11809.72 | 404.14 | 8.02 | 0.91 | 127.64 | 122.6549 | 2395 | 7278 | 33.37 | 122.2 | 1.02 | 0.98 | 0.97 | 1088827.3189 | 0.0010398
86 | 9856.08 | 370.16 | 179.22 | 0.9 | 116.28 | 112.0514 | 6137 | 7285 | 169.7 | 111.8 | 1.02 | 0.98 | 0.96 | 823215.7893 | 0.00078617
87 | 10971.48 | 388.54 | 65.2 | 0.91 | 122.09 | 118.2219 | 4664 | 7395 | 26.57 | 119.5 | 1.01 | 0.99 | 0.97 | 952881.518 | 0.00091
88 | 9173.32 | 354.56 | 177.38 | 0.92 | 111.92 | 108.1007 | 5445 | 7472 | 149.26 | 108.47 | 1.02 | 0.98 | 0.97 | 734043.3808 | 0.00070101
89 | 10214.36 | 372.31 | 122.8 | 0.93 | 119.77 | 114.0698 | 5427 | 7494 | 117.12 | 111.8 | 1.04 | 0.96 | 0.97 | 899586.1718 | 0.0008591
90 | 9802 | 366.48 | 31.01 | 0.92 | 116.42 | 111.7436 | 5313 | 7876 | 23.7 | 111.8 | 1.02 | 0.98 | 0.97 | 826192.8023 | 0.00078901
91 | 11383.84 | 393.11 | 157.19 | 0.93 | 124.83 | 120.423 | 1027 | 7998 | 144.32 | 119.6 | 1.02 | 0.98 | 0.97 | 1018487.1028 | 0.00097266
92 | 11113.44 | 393.74 | 44.25 | 0.9 | 126.79 | 118.9842 | 6144 | 8591 | 61.86 | 115.82 | 1.06 | 0.95 | 0.97 | 1067219.1949 | 0.0010192

## Subsample (SS) #4
| Subsample (SS) #4 |  |  | Subsampled volume = 0.5 mL
Index | Area (µm²) | Angle | Circ. | Perim. | Feret diameter (µm) | Area-equivalent diameter (µm) | FeretX | FeretY | FeretAngle | MinFeret | AR | Round | Solidity | Volume (µm³) | Mass (mg) | Row Labels | Count of MinFeret | Sum of Mass (mg) | Micrograph (2.6 µm/pixel)
1 | 10613.2 | 390.96 | 136.46 | 0.87 | 129.53 | 116.2755 | 4986 | 36 | 141.52 | 112.37 | 1.12 | 0.9 | 0.96 | 1137914.729 | 0.0010867 | 100-105 | 1 | 0.00068905
2 | 4637.36 | 251.08 | 122.58 | 0.92 | 80.77 | 76.86 | 4967 | 58 | 123.18 | 76.69 | 1.04 | 0.96 | 0.95 | 275898.2025 | 0.00026348 | 105-110 | 16 | 0.012264
3 | 11992.24 | 406.29 | 93.61 | 0.91 | 128.04 | 123.5991 | 2442 | 67 | 113.96 | 122.2 | 1.03 | 0.97 | 0.97 | 1099095.9783 | 0.0010496 | 110-115 | 23 | 0.021119
4 | 10559.12 | 387.02 | 139.04 | 0.89 | 119.71 | 115.9789 | 2371 | 590 | 124.38 | 117 | 1.01 | 0.99 | 0.96 | 898234.8785 | 0.00085781 | 115-120 | 19 | 0.0186
5 | 11796.2 | 405.66 | 53.87 | 0.9 | 127.51 | 122.5847 | 4291 | 772 | 50.79 | 122.2 | 1.02 | 0.98 | 0.97 | 1085503.8286 | 0.0010367 | 120-125 | 8 | 0.008548
6 | 9376.12 | 357.6 | 55.86 | 0.92 | 113 | 109.2891 | 2992 | 847 | 66.97 | 109.2 | 1.01 | 0.99 | 0.97 | 755499.1025 | 0.0007215 | Grand Total | 67 | 0.061221
7 | 10187.32 | 377.51 | 71.53 | 0.9 | 117.89 | 113.9187 | 2213 | 881 | 41.42 | 114.4 | 1 | 1 | 0.96 | 857885.8911 | 0.00081928
8 | 9700.6 | 364.96 | 98.99 | 0.92 | 115.96 | 111.1641 | 3031 | 943 | 70.35 | 109.2 | 1.02 | 0.98 | 0.97 | 816438.0605 | 0.0007797
9 | 12634.44 | 416.06 | 96.11 | 0.92 | 131.81 | 126.8654 | 4763 | 1020 | 104.86 | 124.8 | 1.02 | 0.98 | 0.97 | 1199067.6948 | 0.0011451
10 | 10153.52 | 373.83 | 141.25 | 0.91 | 117.89 | 113.7296 | 4315 | 1088 | 138.58 | 113.99 | 1.01 | 0.99 | 0.97 | 857885.8911 | 0.00081928
11 | 5272.8 | 266.68 | 65.32 | 0.93 | 85.29 | 81.957 | 6943 | 1180 | 37.57 | 80.6 | 1.01 | 0.99 | 0.96 | 324857.5507 | 0.00031024
12 | 11410.88 | 393.11 | 53.45 | 0.93 | 124.42 | 120.566 | 7389 | 1251 | 63.97 | 119.6 | 1.01 | 0.99 | 0.97 | 1008484.4667 | 0.0009631
13 | 2798.64 | 195.03 | 151.39 | 0.92 | 62.94 | 59.7088 | 5482 | 1791 | 128.29 | 59.8 | 1.03 | 0.98 | 0.95 | 130550.5897 | 0.00012468
14 | 10572.64 | 387.91 | 95.86 | 0.88 | 122.72 | 116.0531 | 5979 | 1885 | 53.62 | 113.46 | 1.04 | 0.96 | 0.96 | 967708.737 | 0.00092416
15 | 3859.96 | 231.17 | 109.83 | 0.91 | 74.86 | 70.1224 | 5946 | 1872 | 159.68 | 69.06 | 1.03 | 0.97 | 0.95 | 219658.539 | 0.00020977
16 | 11187.8 | 394.63 | 24.34 | 0.9 | 126.23 | 119.3816 | 6489 | 1954 | 32.38 | 117 | 1.03 | 0.97 | 0.97 | 1053140.6321 | 0.0010057
17 | 12593.88 | 447 | 41.59 | 0.79 | 162.16 | 126.6616 | 3944 | 1990 | 41.1 | 112.79 | 1.51 | 0.66 | 0.94 | 2232697.2084 | 0.0021322
18 | 10025.08 | 370.79 | 97.97 | 0.92 | 116.42 | 113.008 | 3187 | 1989 | 113.7 | 113.99 | 1.01 | 0.99 | 0.97 | 826192.8023 | 0.00078901
19 | 9943.96 | 366.48 | 10.19 | 0.93 | 117.46 | 112.5498 | 5599 | 2280 | 27.7 | 111.8 | 1.01 | 0.99 | 0.97 | 848532.7555 | 0.00081035
20 | 10836.28 | 382.08 | 23.6 | 0.93 | 121.87 | 117.4912 | 1717 | 2308 | 33.69 | 114.4 | 1.02 | 0.98 | 0.97 | 947739.6618 | 0.00090509
21 | 12100.4 | 407.82 | 157.16 | 0.91 | 128.04 | 124.1552 | 2175 | 2295 | 167.09 | 124.03 | 1.02 | 0.98 | 0.97 | 1099095.9783 | 0.0010496
22 | 11437.92 | 393.11 | 22.83 | 0.93 | 126.12 | 120.7087 | 1711 | 2347 | 14.32 | 117 | 1.04 | 0.96 | 0.97 | 1050389.8308 | 0.0010031
23 | 10687.56 | 382.71 | 43.04 | 0.92 | 120.19 | 116.6822 | 3406 | 2395 | 51.15 | 117 | 1.01 | 0.99 | 0.97 | 909083.1913 | 0.00086817
24 | 11444.68 | 396.79 | 21.07 | 0.91 | 124.28 | 120.7444 | 6594 | 2486 | 37.35 | 119.6 | 1.01 | 0.99 | 0.97 | 1005083.9921 | 0.00095986
25 | 10870.08 | 384.23 | 4.29 | 0.93 | 122.23 | 117.6743 | 1640 | 2489 | 29.29 | 114.4 | 1.03 | 0.97 | 0.97 | 956163.2719 | 0.00091314
26 | 10322.52 | 374.72 | 111.68 | 0.92 | 119.71 | 114.6722 | 6428 | 2548 | 124.38 | 111.8 | 1.03 | 0.97 | 0.97 | 898234.8785 | 0.00085781
27 | 10092.68 | 368.63 | 32.77 | 0.93 | 117.58 | 113.3883 | 5218 | 2763 | 54.9 | 111.8 | 1.03 | 0.97 | 0.97 | 851136.0585 | 0.00081283
28 | 10031.84 | 370.79 | 52.9 | 0.92 | 117 | 113.0461 | 5246 | 2786 | 36.87 | 112.15 | 1.02 | 0.98 | 0.97 | 838602.6058 | 0.00080087
29 | 10444.2 | 382.71 | 165.53 | 0.9 | 119.63 | 115.3461 | 2442 | 2908 | 137.64 | 114.4 | 1.01 | 0.99 | 0.97 | 896435.2599 | 0.0008561
30 | 11329.76 | 395.26 | 176.14 | 0.91 | 124.28 | 120.1367 | 4343 | 3158 | 37.35 | 119.6 | 1.01 | 0.99 | 0.97 | 1005083.9921 | 0.00095986
31 | 9443.72 | 364.96 | 97.2 | 0.89 | 114.43 | 109.6823 | 4311 | 3136 | 111.32 | 107.71 | 1.05 | 0.95 | 0.96 | 784545.8259 | 0.00074924
32 | 10680.8 | 382.08 | 160.05 | 0.92 | 121.09 | 116.6453 | 4109 | 3311 | 165.07 | 114.4 | 1.03 | 0.97 | 0.97 | 929658.533 | 0.00088782
33 | 10876.84 | 386.39 | 7.69 | 0.92 | 120.87 | 117.7109 | 4653 | 3314 | 161.18 | 117 | 1 | 1 | 0.97 | 924600.6377 | 0.00088299
34 | 10998.52 | 387.91 | 20.65 | 0.92 | 122.64 | 118.3675 | 1496 | 3363 | 32.01 | 117 | 1.02 | 0.98 | 0.97 | 965817.4501 | 0.00092236
35 | 9531.6 | 361.28 | 108.97 | 0.92 | 113.96 | 110.1915 | 4350 | 3399 | 124.78 | 109.2 | 1.02 | 0.98 | 0.97 | 774918.3481 | 0.00074005
36 | 11208.08 | 391.59 | 149.62 | 0.92 | 123.6 | 119.4898 | 5875 | 3436 | 157.75 | 119.6 | 1.02 | 0.98 | 0.97 | 988676.0973 | 0.00094419
37 | 10309 | 373.83 | 56.22 | 0.93 | 119.09 | 114.5971 | 3596 | 3524 | 53.88 | 113.99 | 1.03 | 0.98 | 0.97 | 884350.6678 | 0.00084455
38 | 10309 | 375.99 | 144.62 | 0.92 | 121.28 | 114.5971 | 2580 | 3517 | 149.04 | 111.11 | 1.08 | 0.93 | 0.97 | 934041.5313 | 0.00089201
39 | 9132.76 | 352.4 | 51.06 | 0.92 | 112.01 | 107.8614 | 4181 | 3567 | 68.2 | 106.6 | 1.02 | 0.98 | 0.97 | 735815.6389 | 0.0007027
40 | 9153.04 | 354.56 | 128.18 | 0.91 | 111.83 | 107.9811 | 2565 | 3543 | 107.59 | 108.47 | 1.02 | 0.98 | 0.96 | 732273.9706 | 0.00069932
41 | 11924.64 | 405.66 | 70.56 | 0.91 | 128.04 | 123.2503 | 7560 | 3625 | 77.09 | 122.2 | 1.01 | 0.99 | 0.97 | 1099095.9783 | 0.0010496
42 | 8747.44 | 348.72 | 153.82 | 0.9 | 111.28 | 105.5615 | 4544 | 3910 | 142.59 | 101.4 | 1.04 | 0.96 | 0.97 | 721522.6571 | 0.00068905
43 | 12134.2 | 407.82 | 175.1 | 0.92 | 127.51 | 124.3285 | 3507 | 3947 | 20.28 | 124.8 | 1 | 1 | 0.97 | 1085503.8286 | 0.0010367
44 | 10518.56 | 382.71 | 108.8 | 0.9 | 124.28 | 115.7559 | 4517 | 3926 | 105.78 | 111.62 | 1.11 | 0.9 | 0.96 | 1005083.9921 | 0.00095986
45 | 9605.96 | 365.59 | 31.39 | 0.9 | 117.58 | 110.6205 | 4545 | 3972 | 18.03 | 108.89 | 1.07 | 0.94 | 0.96 | 851136.0585 | 0.00081283 |  |  |  | Overlay
46 | 11370.32 | 394.63 | 130.39 | 0.92 | 124.85 | 120.3515 | 3569 | 3990 | 148.63 | 119.6 | 1.01 | 0.99 | 0.97 | 1018976.7208 | 0.00097312
47 | 10856.56 | 384.23 | 125.27 | 0.92 | 122.09 | 117.6011 | 3616 | 3992 | 153.43 | 117 | 1.01 | 0.99 | 0.97 | 952881.518 | 0.00091
48 | 10173.8 | 379.66 | 34.66 | 0.89 | 119.52 | 113.8431 | 6877 | 4143 | 45.88 | 113.99 | 1.02 | 0.98 | 0.96 | 893964.7115 | 0.00085374
49 | 11458.2 | 396.79 | 32.01 | 0.91 | 129.32 | 120.8157 | 4142 | 4222 | 30.17 | 119.6 | 1.02 | 0.98 | 0.97 | 1132389.1777 | 0.0010814
50 | 9389.64 | 363.43 | 52.94 | 0.89 | 114.67 | 109.3678 | 6960 | 4226 | 32.97 | 109.2 | 1.02 | 0.98 | 0.96 | 789492.593 | 0.00075397
51 | 10910.64 | 386.39 | 35.36 | 0.92 | 122.72 | 117.8936 | 4248 | 4270 | 36.38 | 117 | 1.03 | 0.97 | 0.97 | 967708.737 | 0.00092416
52 | 10788.96 | 385.76 | 62.65 | 0.91 | 121.84 | 117.2344 | 2189 | 4399 | 50.19 | 117 | 1.01 | 0.99 | 0.97 | 947039.936 | 0.00090442
53 | 12208.56 | 410.86 | 121.69 | 0.91 | 131.4 | 124.7089 | 2145 | 4368 | 117.07 | 122.67 | 1.06 | 0.94 | 0.97 | 1187913.2267 | 0.0011345
54 | 11965.2 | 431.77 | 159.27 | 0.81 | 145.04 | 123.4597 | 5391 | 4396 | 165.47 | 117.79 | 1.13 | 0.88 | 0.92 | 1597577.7214 | 0.0015257
55 | 9288.24 | 358.23 | 148.88 | 0.91 | 113.57 | 108.7757 | 3038 | 4607 | 164.05 | 106.97 | 1.05 | 0.95 | 0.97 | 766989.6433 | 0.00073248
56 | 8815.04 | 347.2 | 65.99 | 0.92 | 109.72 | 105.9686 | 2997 | 4624 | 166.29 | 106.6 | 1.01 | 0.99 | 0.97 | 691601.6474 | 0.00066048
57 | 10559.12 | 384.23 | 77.06 | 0.9 | 120.87 | 115.9789 | 3621 | 4681 | 71.18 | 114.4 | 1.04 | 0.96 | 0.96 | 924600.6377 | 0.00088299
58 | 10018.32 | 373.83 | 12.01 | 0.9 | 119.32 | 112.9699 | 3027 | 4653 | 168.69 | 109.2 | 1.08 | 0.92 | 0.97 | 889484.4423 | 0.00084946
59 | 11579.88 | 396.79 | 23.7 | 0.92 | 127.64 | 121.4555 | 3050 | 4748 | 33.37 | 118.6 | 1.06 | 0.95 | 0.97 | 1088827.3189 | 0.0010398
60 | 9788.48 | 371.05 | 172.65 | 0.89 | 118.83 | 111.6665 | 6231 | 4745 | 169.92 | 106.6 | 1.11 | 0.9 | 0.96 | 878571.1007 | 0.00083904
61 | 9450.48 | 364.06 | 2.91 | 0.9 | 120.61 | 109.7216 | 6320 | 4760 | 172.57 | 106.6 | 1.12 | 0.9 | 0.96 | 918646.8172 | 0.00087731
62 | 3623.36 | 227.49 | 112.75 | 0.88 | 73.63 | 67.9393 | 6299 | 4764 | 132.14 | 64.13 | 1.14 | 0.87 | 0.94 | 209008.055 | 0.0001996
63 | 9578.92 | 360.65 | 118.13 | 0.93 | 116.1 | 110.4647 | 6222 | 4770 | 124.05 | 106.6 | 1.05 | 0.95 | 0.97 | 819398.7206 | 0.00078253
64 | 9335.56 | 358.49 | 88.39 | 0.91 | 114.52 | 109.0524 | 6265 | 4809 | 50.53 | 106.6 | 1.01 | 0.99 | 0.97 | 786398.4347 | 0.00075101
65 | 10680.8 | 384.86 | 161.04 | 0.91 | 121.73 | 116.6453 | 2013 | 4943 | 19.98 | 116.1 | 1.02 | 0.98 | 0.96 | 944477.2217 | 0.00090198
66 | 11316.24 | 397.42 | 6.77 | 0.9 | 124.83 | 120.065 | 1990 | 4987 | 35.68 | 119.6 | 1.01 | 0.99 | 0.97 | 1018487.1028 | 0.00097266
67 | 12019.28 | 405.66 | 130.9 | 0.92 | 127.9 | 123.7384 | 5412 | 5357 | 153.43 | 122.2 | 1 | 1 | 0.97 | 1095494.6368 | 0.0010462
68 | 9971 | 370.16 | 124.51 | 0.91 | 116.19 | 112.7028 | 4104 | 5504 | 130.46 | 111.8 | 1.01 | 0.99 | 0.97 | 821305.7766 | 0.00078435
69 | 10025.08 | 370.79 | 177.59 | 0.92 | 116.1 | 113.008 | 4158 | 5509 | 145.95 | 113.99 | 1 | 1 | 0.97 | 819398.7206 | 0.00078253
70 | 10309 | 384.23 | 9.32 | 0.88 | 120.19 | 114.5971 | 2977 | 5599 | 38.85 | 114.4 | 1.01 | 0.99 | 0.96 | 909083.1913 | 0.00086817
71 | 10309 | 373.83 | 1.57 | 0.93 | 118.69 | 114.5971 | 5427 | 5991 | 28.81 | 111.8 | 1.02 | 0.98 | 0.97 | 875469.4825 | 0.00083607
72 | 2649.92 | 188.31 | 73.42 | 0.94 | 62.02 | 58.1007 | 3183 | 6075 | 56.98 | 57.2 | 1.04 | 0.96 | 0.95 | 124909.0508 | 0.00011929
73 | 9511.32 | 364.96 | 25.04 | 0.9 | 117.58 | 110.0742 | 3149 | 7352 | 35.1 | 106.43 | 1.09 | 0.92 | 0.96 | 851136.0585 | 0.00081283